## Annualised Power Consumption
Timestamp | Total Incoming
2019-12-31 | 0
2020-12-31 | 0
2021-12-31 | 43473514.0219
2022-12-31 | 3381955.8322

## Incomer Sources
0
Generator | 0
Mains | 1095878.21

## SEU Data
0
HVAC | 36.7868
IT Load | 56.9666
Small Power and Other | 6.2466

## TEM2 Target Parameters w
R2 = nan
const | 5718.3694
CT1_TEM1.C1_TEM1_CCL_UPS_System_B#Real Energy Into the Load#kWh | -41.5899
CT1_TEM1.C1_TEM1_CCL_UPS_System_C#Real Energy Into the Load#kWh | -1.7661

## TEM2 Fitting Parameters w
R2 = 0.9926998684228532
const | 7.3921
CT1_TEM1.C1_TEM1_CCL_UPS_System_B#Real Energy Into the Load#kWh | 4.9513
CT1_TEM1.C1_TEM1_CCL_UPS_System_C#Real Energy Into the Load#kWh | -1.2978

## TEM1 Target Parameters w
R2 = nan
const | 1.7815e-12
CT1_TEM1.C1_TEM1_CCL_UPS_System_B#Real Energy Into the Load#kWh | 50.0865
CT1_TEM2.C_TEM_2_MLV_A_UPS#Real Energy Into the Load#kWh | -12.9438

## TEM1 Fitting Parameters w
R2 = 0.9941456158749663
const | -282.6403
CT1_TEM1.C1_TEM1_CCL_UPS_System_B#Real Energy Into the Load#kWh | 3.5379
CT1_TEM2.C_TEM_2_MLV_A_UPS#Real Energy Into the Load#kWh | 0.65353

## Total Target Parameters w
R2 = 0.9999946106117057
const | -0.00013482
CT1_TEM1.C1_TEM1_CCL_UPS_System_B#Real Energy Into the Load#kWh | 6.5928

## Total Fitting Parameters w
R2 = 0.9949090673539783
const | 8.9181
CT1_TEM1.C1_TEM1_CCL_UPS_System_B#Real Energy Into the Load#kWh | 6.5447

## Plotting Data
| Timestamp | TEM | Actual HVAC Power kWh | Predicted HVAC Power kWh | Target HVAC Power kWh | Difference kWh | Cusum kWh | ENPI | PUE | Target PUE | Total UPS Power | Total Incoming Power
0 | 2019-05-12 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.019056 | 467.9847 | 0
1 | 2019-05-19 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.018692 | 477.098 | 0
2 | 2019-05-26 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.018018 | 494.9565 | 0
3 | 2019-06-02 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.017201 | 518.4755 | 0
4 | 2019-06-09 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.016932 | 526.6923 | 0
5 | 2019-06-16 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.016774 | 531.6541 | 0
6 | 2019-06-23 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.016753 | 532.3358 | 0
7 | 2019-06-30 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.016703 | 533.9385 | 0
8 | 2019-07-07 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.01663 | 536.2707 | 0
9 | 2019-07-14 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.016458 | 541.8568 | 0
10 | 2019-07-21 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.016267 | 548.2444 | 0
11 | 2019-07-28 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.01626 | 548.4632 | 0
12 | 2019-08-04 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.016173 | 551.4292 | 0
13 | 2019-08-11 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.01607 | 554.9535 | 0
14 | 2019-08-18 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.016022 | 556.6093 | 0
15 | 2019-08-25 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.016013 | 556.938 | 0
16 | 2019-09-01 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.015987 | 557.8349 | 0
17 | 2019-09-08 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.015992 | 557.6665 | 0
18 | 2019-09-15 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.015976 | 558.223 | 0
19 | 2019-09-22 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.015889 | 561.2752 | 0
20 | 2019-09-29 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.015834 | 563.2403 | 0
21 | 2019-10-06 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.015781 | 565.1193 | 0
22 | 2019-10-13 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.015711 | 567.6258 | 0
23 | 2019-10-20 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.01565 | 569.8649 | 0
24 | 2019-10-27 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.015526 | 574.4091 | 0
25 | 2019-11-03 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.015346 | 581.1207 | 0
26 | 2019-11-10 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.015293 | 583.1529 | 0
27 | 2019-11-17 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.015176 | 587.6472 | 0
28 | 2019-11-24 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.015075 | 591.5813 | 0
29 | 2019-12-01 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.015061 | 592.1216 | 0
30 | 2019-12-08 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.015024 | 593.5907 | 0
31 | 2019-12-15 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.0149 | 598.5504 | 0
32 | 2019-12-22 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.014844 | 600.7976 | 0
33 | 2019-12-29 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.014856 | 600.3033 | 0
34 | 2020-01-05 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.014843 | 600.8449 | 0
35 | 2020-01-12 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.014822 | 601.6853 | 0
36 | 2020-01-19 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.014792 | 602.9011 | 0
37 | 2020-01-26 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.014751 | 604.5747 | 0
38 | 2020-02-02 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.014737 | 605.1638 | 0
39 | 2020-02-09 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.014662 | 608.2607 | 0
40 | 2020-02-16 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.014576 | 611.8544 | 0
41 | 2020-02-23 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.014482 | 615.7892 | 0
42 | 2020-03-01 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.014429 | 618.0718 | 0
43 | 2020-03-08 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.014284 | 624.3473 | 0
44 | 2020-03-15 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.014271 | 624.9299 | 0
45 | 2020-03-22 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.014081 | 633.344 | 0
46 | 2020-03-29 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.01405 | 634.7378 | 0
47 | 2020-04-05 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.014024 | 635.9072 | 0
48 | 2020-04-12 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.013939 | 639.7929 | 0
49 | 2020-04-19 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.013929 | 640.2499 | 0
50 | 2020-04-26 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.013891 | 642.0239 | 0
51 | 2020-05-03 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.013882 | 642.4336 | 0
52 | 2020-05-10 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.013863 | 643.3258 | 0
53 | 2020-05-17 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.013852 | 643.8236 | 0
54 | 2020-05-24 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.013862 | 643.3656 | 0
55 | 2020-05-31 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.013845 | 644.1318 | 0
56 | 2020-06-07 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.013788 | 646.784 | 0
57 | 2020-06-14 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.013765 | 647.9052 | 0
58 | 2020-06-21 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.01365 | 653.3257 | 0
59 | 2020-06-28 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.013581 | 656.6767 | 0
60 | 2020-07-05 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.01356 | 657.6846 | 0
61 | 2020-07-12 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.013542 | 658.5463 | 0
62 | 2020-07-19 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.013554 | 657.9587 | 0
63 | 2020-07-26 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.01353 | 659.1355 | 0
64 | 2020-08-02 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.013456 | 662.7493 | 0
65 | 2020-08-09 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.013393 | 665.8839 | 0
66 | 2020-08-16 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.013266 | 672.2415 | 0
67 | 2020-08-23 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.013275 | 671.7829 | 0
68 | 2020-08-30 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.01329 | 671.0611 | 0
69 | 2020-09-06 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.013247 | 673.1934 | 0
70 | 2020-09-13 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.013157 | 677.8425 | 0
71 | 2020-09-20 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.013153 | 678.042 | 0
72 | 2020-09-27 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.013181 | 676.6008 | 0
73 | 2020-10-04 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.013169 | 677.2245 | 0
74 | 2020-10-11 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.013086 | 681.5165 | 0
75 | 2020-10-18 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.012996 | 686.2338 | 0
76 | 2020-10-25 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.012955 | 688.3723 | 0
77 | 2020-11-01 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.012911 | 690.7348 | 0
78 | 2020-11-08 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.01305 | 683.3917 | 0
79 | 2020-11-15 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.012842 | 694.4345 | 0
80 | 2020-11-22 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.012833 | 694.9267 | 0
81 | 2020-11-29 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.012639 | 705.5803 | 0
82 | 2020-12-06 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.012599 | 707.825 | 0
83 | 2020-12-13 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.012642 | 705.4517 | 0
84 | 2020-12-20 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.012667 | 704.0681 | 0
85 | 2020-12-27 | TEM2 | 0 | 7.3921 | 0 | -7.3921 |  | 0 | 0 | 0.012624 | 706.457 | 0
86 | 2021-01-03 | TEM2 | 59379.9312 | -20.4381 |  | 59400.3693 |  | -2905.3493 | 79.9386 | 52.8039 | 708.3995 | 174146.477
87 | 2021-01-10 | TEM2 | 350.1592 | -13.4434 |  | 363.6026 |  | -26.047 | 1.6533 | 1.2422 | 709.4368 | 1156.6303
88 | 2021-01-17 | TEM2 | 352.3676 | -12.9518 |  | 365.3194 |  | -27.206 | 1.4033 | 0.99168 | 711.7851 | 954.4141
89 | 2021-01-24 | TEM2 | 347.6261 | -13.729 |  | 361.3551 |  | -25.3206 | 1.6585 | 1.246 | 703.854 | 1149.9702
90 | 2021-01-31 | TEM2 | 347.878 | -12.0532 |  | 359.9312 |  | -28.8619 | 1.6462 | 1.2362 | 699.6506 | 1135.1928
91 | 2021-02-07 | TEM2 | 352.8263 | -12.717 |  | 365.5433 |  | -27.7444 | 1.6594 | 1.2448 | 703.4355 | 1152.435
92 | 2021-02-14 | TEM2 | 359.1027 | -13.3419 |  | 372.4446 |  | -26.9154 | 1.666 | 1.2436 | 704.7914 | 1159.3412
93 | 2021-02-21 | TEM2 | 347.4505 | -14.726 |  | 362.1765 |  | -23.5944 | 1.6494 | 1.237 | 700.3502 | 1138.5419
94 | 2021-02-28 | TEM2 | 349.8058 | -12.4453 |  | 362.2511 |  | -28.1075 | 1.6504 | 1.2448 | 705.7166 | 1150.2209
95 | 2021-03-07 | TEM2 | 341.9182 | -5.285 |  | 347.2031 |  | -64.6963 | 1.6453 | 1.2641 | 704.4275 | 1144.5872
96 | 2021-03-14 | TEM2 | 337.2612 | -3.2474 |  | 340.5086 |  | -103.8542 | 1.6258 | 1.2573 | 703.5383 | 1130.5609
97 | 2021-03-21 | TEM2 | 344.8363 | -1.9156 |  | 346.7519 |  | -180.0168 | 1.6579 | 1.279 | 704.9991 | 1156.325
98 | 2021-03-28 | TEM2 | 352.6384 | -2.7435 |  | 355.3819 |  | -128.535 | 1.6421 | 1.2502 | 703.3358 | 1139.3185
99 | 2021-04-04 | TEM2 | 338.8996 | -4.6625 |  | 343.562 |  | -72.6866 | 1.6451 | 1.2748 | 703.5568 | 1146.9502
100 | 2021-04-11 | TEM2 | 340.513 | -5.1017 |  | 345.6146 |  | -66.7456 | 1.633 | 1.2624 | 702.983 | 1138.069
101 | 2021-04-18 | TEM2 | 344.9721 | -2.2499 |  | 347.222 |  | -153.3293 | 1.6578 | 1.285 | 703.2344 | 1156.9531
102 | 2021-04-25 | TEM2 | 327.5138 | -3.1161 |  | 330.6299 |  | -105.1028 | 1.6247 | 1.2716 | 703.18 | 1128.8612
103 | 2021-05-02 | TEM2 | 327.9807 | 2.3997 |  | 325.581 |  | 136.677 | 1.6294 | 1.2853 | 701.4073 | 1132.6778
104 | 2021-05-09 | TEM2 | 327.2403 | 14.8292 |  | 312.4111 |  | 22.0673 | 1.6037 | 1.2848 | 703.4163 | 1118.0849
105 | 2021-05-16 | TEM2 | 313.1763 | 14.7286 |  | 298.4477 |  | 21.2632 | 1.4487 | 1.1483 | 708.2287 | 994.5934
106 | 2021-05-23 | TEM2 | 296.1924 | 17.321 |  | 278.8714 |  | 17.1002 | 1.5783 | 1.3039 | 708.866 | 1106.5651
107 | 2021-05-30 | TEM2 | 328.3141 | 25.9583 |  | 302.3558 |  | 12.6477 | 1.6138 | 1.3182 | 709.8127 | 1138.4506
108 | 2021-06-06 | TEM2 | 315.0522 | 37.72 |  | 277.3322 |  | 8.3524 | 1.5885 | 1.3337 | 711.141 | 1122.7046
109 | 2021-06-13 | TEM2 | 333.3728 | 39.553 |  | 293.8198 |  | 8.4285 | 1.611 | 1.3387 | 712.9765 | 1147.3357
110 | 2021-06-20 | TEM2 | 321.7775 | 40.4501 |  | 281.3274 |  | 7.9549 | 1.5836 | 1.3296 | 713.0183 | 1128.3216
111 | 2021-06-27 | TEM2 | 319.2552 | 39.6171 |  | 279.6381 |  | 8.0585 | 1.5869 | 1.3351 | 715.6642 | 1134.6587
112 | 2021-07-04 | TEM2 | 300.9146 | 39.768 |  | 261.1466 |  | 7.5667 | 1.5622 | 1.3328 | 713.7027 | 1111.7613
113 | 2021-07-11 | TEM2 | 297.2605 | 66.4538 |  | 230.8067 |  | 4.4732 | 1.5514 | 1.3751 | 715.7174 | 1109.6611
114 | 2021-07-18 | TEM2 | 280.9881 | 82.9741 |  | 198.014 |  | 3.3865 | 1.5352 | 1.4073 | 717.874 | 1100.0389
115 | 2021-07-25 | TEM2 | 280.3144 | 79.066 |  | 201.2484 |  | 3.5453 | 1.5276 | 1.3953 | 719.4048 | 1096.1521
116 | 2021-08-01 | TEM2 | 311.8273 | 77.4694 |  | 234.3579 |  | 4.0252 | 1.5649 | 1.3943 | 720.6955 | 1130.0092
117 | 2021-08-08 | TEM2 | 302.8959 | 77.2914 |  | 225.6044 |  | 3.9189 | 1.556 | 1.3982 | 723.2324 | 1127.0476
118 | 2021-08-15 | TEM2 | 298.4281 | 74.5531 |  | 223.875 |  | 4.0029 | 1.5496 | 1.3943 | 724.1244 | 1123.3438
119 | 2021-08-22 | TEM2 | 309.8839 | 70.5628 |  | 239.3212 |  | 4.3916 | 1.555 | 1.3806 | 728.5079 | 1136.8934
120 | 2021-08-29 | TEM2 | 297.8849 | 70.5658 |  | 227.3191 |  | 4.2214 | 1.5424 | 1.3827 | 732.6033 | 1132.0692
121 | 2021-09-05 | TEM2 | 311.5794 | 70.8269 |  | 240.7525 |  | 4.3992 | 1.5637 | 1.3809 | 732.51 | 1143.8701
122 | 2021-09-12 | TEM2 | 316.8316 | 76.1264 |  | 240.7052 |  | 4.1619 | 1.5856 | 1.394 | 733.3495 | 1149.7136
123 | 2021-09-19 | TEM2 | 317.2464 | 149.7647 |  | 167.4817 |  | 2.1183 | 1.6419 | 1.5239 | 732.0455 | 1151.5529
124 | 2021-09-26 | TEM2 | 327.6697 | 336.6219 | 327.6697 | -8.9522 |  | 0.97341 | 1.7287 | 1.7415 | 732.2162 | 1161.0991
125 | 2021-10-03 | TEM2 | 321.2073 | 343.0656 | 321.2073 | -21.8584 |  | 0.93629 | 1.763 | 1.7471 | 734.4381 | 1155.4821
126 | 2021-10-10 | TEM2 | 333.685 | 346.9678 | 333.685 | -13.2828 |  | 0.96172 | 1.819 | 1.7489 | 736.2366 | 1168.9887
127 | 2021-10-17 | TEM2 | 330.3836 | 349.0385 | 330.3836 | -18.6549 |  | 0.94655 | 1.7404 | 1.7449 | 736.8665 | 1158.9055
128 | 2021-10-24 | TEM2 | 337.9636 | 353.9798 | 337.9636 | -16.0162 |  | 0.95475 | 1.751 | 1.7533 | 740.8837 | 1176.9708
129 | 2021-10-31 | TEM2 | 357.9959 | 357.4723 |  | 0.52359 |  | 1.0015 | 1.7826 | 1.7547 | 743.3579 | 1198.8736
130 | 2021-11-07 | TEM2 | 336.5209 | 358.2233 | 336.5209 | -21.7024 |  | 0.93942 | 1.7433 | 1.7523 | 744.7747 | 1176.5804
131 | 2021-11-14 | TEM2 | 354.9591 | 359.2356 | 354.9591 | -4.2764 |  | 0.9881 | 1.7616 | 1.7487 | 744.9652 | 1189.2689
132 | 2021-11-21 | TEM2 | 354.6725 | 355.8237 | 354.6725 | -1.1512 |  | 0.99676 | 1.7587 | 1.7457 | 745.0174 | 1189.5552
133 | 2021-11-28 | TEM2 | 362.5472 | 358.1516 |  | 4.3956 |  | 1.0123 | 1.7665 | 1.7605 | 743.8379 | 1208.7737
134 | 2021-12-05 | TEM2 | 350.1743 | 359.5241 | 350.1743 | -9.3498 |  | 0.97399 | 1.7374 | 1.7551 | 749.7374 | 1199.6943
135 | 2021-12-12 | TEM2 | 360.2935 | 363.0264 | 360.2935 | -2.7329 |  | 0.99247 | 1.7504 | 1.7598 | 751.2854 | 1213.5375
136 | 2021-12-19 | TEM2 | 362.2237 | 364.3553 | 362.2237 | -2.1316 |  | 0.99415 | 1.7579 | 1.7583 | 751.2643 | 1213.1172
137 | 2021-12-26 | TEM2 | 372.7259 | 364.6874 |  | 8.0386 |  | 1.022 | 1.7696 | 1.7611 | 751.0238 | 1225.7405
138 | 2022-01-02 | TEM2 | 354.2107 | 362.3834 | 354.2107 | -8.1727 | -8.1727 | 0.97745 | 1.7378 | 1.7571 | 750.6996 | 1204.5253
139 | 2022-01-09 | TEM2 | 373.4404 | 366.0262 |  | 7.4143 | -0.75841 | 1.0203 | 1.7648 | 1.7614 | 752.6757 | 1227.0829
140 | 2022-01-16 | TEM2 | 378.6851 | 365.7361 |  | 12.949 | 12.1906 | 1.0354 | 1.7753 | 1.7574 | 755.0107 | 1233.2918
141 | 2022-01-23 | TEM2 | 373.769 | 375.0286 | 373.769 | -1.2595 | 10.931 | 0.99664 | 1.7728 | 1.7673 | 756.3775 | 1231.676
142 | 2022-01-30 | TEM2 | 372.977 | 375.1374 | 372.977 | -2.1604 | 8.7706 | 0.99424 | 1.7602 | 1.7641 | 757.8693 | 1230.9425
143 | 2022-02-06 | TEM2 | 375.3592 | 373.2744 |  | 2.0848 | 10.8554 | 1.0056 | 1.7619 | 1.7611 | 760.7314 | 1235.4564
144 | 2022-02-13 | TEM2 | 371.6456 | 372.1918 | 371.6456 | -0.54617 | 10.3092 | 0.99853 | 1.7671 | 1.7589 | 766.2921 | 1240.6576
145 | 2022-02-20 | TEM2 | 370.3181 | 371.7315 | 370.3181 | -1.4134 | 8.8958 | 0.9962 | 1.7533 | 1.7552 | 768.6036 | 1240.4579
146 | 2022-02-27 | TEM2 | 371.2168 | 371.6257 | 371.2168 | -0.40885 | 8.4869 | 0.9989 | 1.7508 | 1.7539 | 769.886 | 1242.4457
147 | 2022-03-06 | TEM2 | 373.0417 | 375.6906 | 373.0417 | -2.649 | 5.838 | 0.99295 | 1.7541 | 1.7563 | 771.9897 | 1246.0106
148 | 2022-03-13 | TEM2 | 85.4309 | 85.5305 | 85.4309 | -0.099518 | 5.7384 | 0.99884 | 0.79878 | 0.79839 | 511.7448 | 282.46
0 | 2019-05-12 | TEM1 | 0 | -110.4733 |  | 110.4733 |  | 0 | 0 | 0.019056 | 0 | 0
1 | 2019-05-19 | TEM1 | 0 | -107.7087 |  | 107.7087 |  | 0 | 0 | 0.018692 | 0 | 0
2 | 2019-05-26 | TEM1 | 0 | -102.7095 |  | 102.7095 |  | 0 | 0 | 0.018018 | 0 | 0
3 | 2019-06-02 | TEM1 | 0 | -93.2895 |  | 93.2895 |  | 0 | 0 | 0.017201 | 0 | 0
4 | 2019-06-09 | TEM1 | 0 | -88.8004 |  | 88.8004 |  | 0 | 0 | 0.016932 | 0 | 0
5 | 2019-06-16 | TEM1 | 0 | -86.1963 |  | 86.1963 |  | 0 | 0 | 0.016774 | 0 | 0
6 | 2019-06-23 | TEM1 | 0 | -85.861 |  | 85.861 |  | 0 | 0 | 0.016753 | 0 | 0
7 | 2019-06-30 | TEM1 | 0 | -84.7624 |  | 84.7624 |  | 0 | 0 | 0.016703 | 0 | 0
8 | 2019-07-07 | TEM1 | 0 | -83.8911 |  | 83.8911 |  | 0 | 0 | 0.01663 | 0 | 0
9 | 2019-07-14 | TEM1 | 0 | -82.0318 |  | 82.0318 |  | 0 | 0 | 0.016458 | 0 | 0
10 | 2019-07-21 | TEM1 | 0 | -80.0586 |  | 80.0586 |  | 0 | 0 | 0.016267 | 0 | 0
11 | 2019-07-28 | TEM1 | 0 | -79.4671 |  | 79.4671 |  | 0 | 0 | 0.01626 | 0 | 0
12 | 2019-08-04 | TEM1 | 0 | -78.4573 |  | 78.4573 |  | 0 | 0 | 0.016173 | 0 | 0
13 | 2019-08-11 | TEM1 | 0 | -76.6637 |  | 76.6637 |  | 0 | 0 | 0.01607 | 0 | 0
14 | 2019-08-18 | TEM1 | 0 | -77.0522 |  | 77.0522 |  | 0 | 0 | 0.016022 | 0 | 0
15 | 2019-08-25 | TEM1 | 0 | -76.8289 |  | 76.8289 |  | 0 | 0 | 0.016013 | 0 | 0
16 | 2019-09-01 | TEM1 | 0 | -76.6798 |  | 76.6798 |  | 0 | 0 | 0.015987 | 0 | 0
17 | 2019-09-08 | TEM1 | 0 | -76.5058 |  | 76.5058 |  | 0 | 0 | 0.015992 | 0 | 0
18 | 2019-09-15 | TEM1 | 0 | -76.3837 |  | 76.3837 |  | 0 | 0 | 0.015976 | 0 | 0
19 | 2019-09-22 | TEM1 | 0 | -74.8872 |  | 74.8872 |  | 0 | 0 | 0.015889 | 0 | 0
20 | 2019-09-29 | TEM1 | 0 | -74.1315 |  | 74.1315 |  | 0 | 0 | 0.015834 | 0 | 0
21 | 2019-10-06 | TEM1 | 0 | -74.8976 |  | 74.8976 |  | 0 | 0 | 0.015781 | 0 | 0
22 | 2019-10-13 | TEM1 | 0 | -74.3875 |  | 74.3875 |  | 0 | 0 | 0.015711 | 0 | 0
23 | 2019-10-20 | TEM1 | 0 | -72.6478 |  | 72.6478 |  | 0 | 0 | 0.01565 | 0 | 0
24 | 2019-10-27 | TEM1 | 0 | -71.094 |  | 71.094 |  | 0 | 0 | 0.015526 | 0 | 0
25 | 2019-11-03 | TEM1 | 0 | -68.8425 |  | 68.8425 |  | 0 | 0 | 0.015346 | 0 | 0
26 | 2019-11-10 | TEM1 | 0 | -68.2314 |  | 68.2314 |  | 0 | 0 | 0.015293 | 0 | 0
27 | 2019-11-17 | TEM1 | 0 | -65.1214 |  | 65.1214 |  | 0 | 0 | 0.015176 | 0 | 0
28 | 2019-11-24 | TEM1 | 0 | -63.472 |  | 63.472 |  | 0 | 0 | 0.015075 | 0 | 0
29 | 2019-12-01 | TEM1 | 0 | -63.4613 |  | 63.4613 |  | 0 | 0 | 0.015061 | 0 | 0
30 | 2019-12-08 | TEM1 | 0 | -62.9305 |  | 62.9305 |  | 0 | 0 | 0.015024 | 0 | 0
31 | 2019-12-15 | TEM1 | 0 | -60.996 |  | 60.996 |  | 0 | 0 | 0.0149 | 0 | 0
32 | 2019-12-22 | TEM1 | 0 | -60.5015 |  | 60.5015 |  | 0 | 0 | 0.014844 | 0 | 0
33 | 2019-12-29 | TEM1 | 0 | -60.6647 |  | 60.6647 |  | 0 | 0 | 0.014856 | 0 | 0
34 | 2020-01-05 | TEM1 | 0 | -60.4334 |  | 60.4334 |  | 0 | 0 | 0.014843 | 0 | 0
35 | 2020-01-12 | TEM1 | 0 | -60.2939 |  | 60.2939 |  | 0 | 0 | 0.014822 | 0 | 0
36 | 2020-01-19 | TEM1 | 0 | -60.999 |  | 60.999 |  | 0 | 0 | 0.014792 | 0 | 0
37 | 2020-01-26 | TEM1 | 0 | -61.4189 |  | 61.4189 |  | 0 | 0 | 0.014751 | 0 | 0
38 | 2020-02-02 | TEM1 | 0 | -60.7781 |  | 60.7781 |  | 0 | 0 | 0.014737 | 0 | 0
39 | 2020-02-09 | TEM1 | 0 | -59.27 |  | 59.27 |  | 0 | 0 | 0.014662 | 0 | 0
40 | 2020-02-16 | TEM1 | 0 | -57.8805 |  | 57.8805 |  | 0 | 0 | 0.014576 | 0 | 0
41 | 2020-02-23 | TEM1 | 0 | -55.8578 |  | 55.8578 |  | 0 | 0 | 0.014482 | 0 | 0
42 | 2020-03-01 | TEM1 | 0 | -54.9154 |  | 54.9154 |  | 0 | 0 | 0.014429 | 0 | 0
43 | 2020-03-08 | TEM1 | 0 | -52.7896 |  | 52.7896 |  | 0 | 0 | 0.014284 | 0 | 0
44 | 2020-03-15 | TEM1 | 0 | -52.5447 |  | 52.5447 |  | 0 | 0 | 0.014271 | 0 | 0
45 | 2020-03-22 | TEM1 | 0 | -48.7877 |  | 48.7877 |  | 0 | 0 | 0.014081 | 0 | 0
46 | 2020-03-29 | TEM1 | 0 | -48.4331 |  | 48.4331 |  | 0 | 0 | 0.01405 | 0 | 0
47 | 2020-04-05 | TEM1 | 0 | -48.0309 |  | 48.0309 |  | 0 | 0 | 0.014024 | 0 | 0
48 | 2020-04-12 | TEM1 | 0 | -45.6425 |  | 45.6425 |  | 0 | 0 | 0.013939 | 0 | 0
49 | 2020-04-19 | TEM1 | 0 | -45.0795 |  | 45.0795 |  | 0 | 0 | 0.013929 | 0 | 0
50 | 2020-04-26 | TEM1 | 0 | -44.2195 |  | 44.2195 |  | 0 | 0 | 0.013891 | 0 | 0
51 | 2020-05-03 | TEM1 | 0 | -44.3515 |  | 44.3515 |  | 0 | 0 | 0.013882 | 0 | 0
52 | 2020-05-10 | TEM1 | 0 | -44.4982 |  | 44.4982 |  | 0 | 0 | 0.013863 | 0 | 0
53 | 2020-05-17 | TEM1 | 0 | -43.4835 |  | 43.4835 |  | 0 | 0 | 0.013852 | 0 | 0
54 | 2020-05-24 | TEM1 | 0 | -42.162 |  | 42.162 |  | 0 | 0 | 0.013862 | 0 | 0
55 | 2020-05-31 | TEM1 | 0 | -41.9861 |  | 41.9861 |  | 0 | 0 | 0.013845 | 0 | 0
56 | 2020-06-07 | TEM1 | 0 | -41.4353 |  | 41.4353 |  | 0 | 0 | 0.013788 | 0 | 0
57 | 2020-06-14 | TEM1 | 0 | -42.5722 |  | 42.5722 |  | 0 | 0 | 0.013765 | 0 | 0
58 | 2020-06-21 | TEM1 | 0 | -41.9052 |  | 41.9052 |  | 0 | 0 | 0.01365 | 0 | 0
59 | 2020-06-28 | TEM1 | 0 | -40.4203 |  | 40.4203 |  | 0 | 0 | 0.013581 | 0 | 0
60 | 2020-07-05 | TEM1 | 0 | -40.2197 |  | 40.2197 |  | 0 | 0 | 0.01356 | 0 | 0
61 | 2020-07-12 | TEM1 | 0 | -39.5973 |  | 39.5973 |  | 0 | 0 | 0.013542 | 0 | 0
62 | 2020-07-19 | TEM1 | 0 | -40.2146 |  | 40.2146 |  | 0 | 0 | 0.013554 | 0 | 0
63 | 2020-07-26 | TEM1 | 0 | -39.7632 |  | 39.7632 |  | 0 | 0 | 0.01353 | 0 | 0
64 | 2020-08-02 | TEM1 | 0 | -37.9982 |  | 37.9982 |  | 0 | 0 | 0.013456 | 0 | 0
65 | 2020-08-09 | TEM1 | 0 | -36.6386 |  | 36.6386 |  | 0 | 0 | 0.013393 | 0 | 0
66 | 2020-08-16 | TEM1 | 0 | -33.4047 |  | 33.4047 |  | 0 | 0 | 0.013266 | 0 | 0
67 | 2020-08-23 | TEM1 | 0 | -32.4661 |  | 32.4661 |  | 0 | 0 | 0.013275 | 0 | 0
68 | 2020-08-30 | TEM1 | 0 | -33.1106 |  | 33.1106 |  | 0 | 0 | 0.01329 | 0 | 0
69 | 2020-09-06 | TEM1 | 0 | -31.673 |  | 31.673 |  | 0 | 0 | 0.013247 | 0 | 0
70 | 2020-09-13 | TEM1 | 0 | -31.1796 |  | 31.1796 |  | 0 | 0 | 0.013157 | 0 | 0
71 | 2020-09-20 | TEM1 | 0 | -31.1785 |  | 31.1785 |  | 0 | 0 | 0.013153 | 0 | 0
72 | 2020-09-27 | TEM1 | 0 | -32.4589 |  | 32.4589 |  | 0 | 0 | 0.013181 | 0 | 0
73 | 2020-10-04 | TEM1 | 0 | -32.3278 |  | 32.3278 |  | 0 | 0 | 0.013169 | 0 | 0
74 | 2020-10-11 | TEM1 | 0 | -31.3031 |  | 31.3031 |  | 0 | 0 | 0.013086 | 0 | 0
75 | 2020-10-18 | TEM1 | 0 | -29.8237 |  | 29.8237 |  | 0 | 0 | 0.012996 | 0 | 0
76 | 2020-10-25 | TEM1 | 0 | -29.5811 |  | 29.5811 |  | 0 | 0 | 0.012955 | 0 | 0
77 | 2020-11-01 | TEM1 | 0 | -29.5972 |  | 29.5972 |  | 0 | 0 | 0.012911 | 0 | 0
78 | 2020-11-08 | TEM1 | 0 | -50.7802 |  | 50.7802 |  | 0 | 0 | 0.01305 | 0 | 0
79 | 2020-11-15 | TEM1 | 0 | -48.8909 |  | 48.8909 |  | 0 | 0 | 0.012842 | 0 | 0
80 | 2020-11-22 | TEM1 | 0 | -45.3158 |  | 45.3158 |  | 0 | 0 | 0.012833 | 0 | 0
81 | 2020-11-29 | TEM1 | 0 | -38.2641 |  | 38.2641 |  | 0 | 0 | 0.012639 | 0 | 0
82 | 2020-12-06 | TEM1 | 0 | -36.7791 |  | 36.7791 |  | 0 | 0 | 0.012599 | 0 | 0
83 | 2020-12-13 | TEM1 | 0 | -38.0673 |  | 38.0673 |  | 0 | 0 | 0.012642 | 0 | 0
84 | 2020-12-20 | TEM1 | 0 | -39.1603 |  | 39.1603 |  | 0 | 0 | 0.012667 | 0 | 0
85 | 2020-12-27 | TEM1 | 0 | -36.3631 |  | 36.3631 |  | 0 | 0 | 0.012624 | 0 | 0
86 | 2021-01-03 | TEM1 | 2111.483 | 622.6146 |  | 1488.8684 |  | 3.3913 | 79.9386 | 52.8039 | 1512.5784 | 3395.2759
87 | 2021-01-10 | TEM1 | 62.8534 | 0.77105 |  | 62.0824 |  | 81.5166 | 1.6533 | 1.2422 | 112.1296 | 201.6432
88 | 2021-01-17 | TEM1 | 62.9956 | 2.0665 |  | 60.9291 |  | 30.484 | 1.4033 | 0.99168 | 112.4696 | 202.2844
89 | 2021-01-24 | TEM1 | 64.5485 | -0.26807 |  | 64.8166 |  | -240.7881 | 1.6585 | 1.246 | 112.7583 | 204.3915
90 | 2021-01-31 | TEM1 | 63.0425 | 0.18444 |  | 62.8581 |  | 341.808 | 1.6462 | 1.2362 | 113.1761 | 202.9103
91 | 2021-02-07 | TEM1 | 63.0944 | 3.9185 |  | 59.1758 |  | 16.1015 | 1.6594 | 1.2448 | 113.6406 | 203.3951
92 | 2021-02-14 | TEM1 | 63.4662 | 4.4364 |  | 59.0298 |  | 14.3058 | 1.666 | 1.2436 | 113.8182 | 204.489
93 | 2021-02-21 | TEM1 | 64.0656 | 11.3956 |  | 52.67 |  | 5.622 | 1.6494 | 1.237 | 114.409 | 205.3036
94 | 2021-02-28 | TEM1 | 62.9794 | 17.9654 |  | 45.014 |  | 3.5056 | 1.6504 | 1.2448 | 115.6866 | 205.3824
95 | 2021-03-07 | TEM1 | 64.8701 | 24.5983 |  | 40.2719 |  | 2.6372 | 1.6453 | 1.2641 | 119.7632 | 211.4234
96 | 2021-03-14 | TEM1 | 60.855 | 25.3033 |  | 35.5517 |  | 2.405 | 1.6258 | 1.2573 | 119.7097 | 207.8957
97 | 2021-03-21 | TEM1 | 64.139 | 26.9908 |  | 37.1482 |  | 2.3763 | 1.6579 | 1.279 | 120.017 | 211.5088
98 | 2021-03-28 | TEM1 | 66.094 | 25.2051 |  | 40.8889 |  | 2.6222 | 1.6421 | 1.2502 | 120.6305 | 213.7128
99 | 2021-04-04 | TEM1 | 63.0129 | 25.31 |  | 37.7029 |  | 2.4896 | 1.6451 | 1.2748 | 123.2612 | 213.2701
100 | 2021-04-11 | TEM1 | 61.3312 | 24.3033 |  | 37.0278 |  | 2.5236 | 1.633 | 1.2624 | 123.727 | 211.9699
101 | 2021-04-18 | TEM1 | 63.8723 | 26.9206 |  | 36.9516 |  | 2.3726 | 1.6578 | 1.285 | 125.4069 | 216.7571
102 | 2021-04-25 | TEM1 | 63.7936 | 26.1362 |  | 37.6574 |  | 2.4408 | 1.6247 | 1.2716 | 124.9015 | 216.5551
103 | 2021-05-02 | TEM1 | 62.6094 | 29.93 |  | 32.6794 |  | 2.0919 | 1.6294 | 1.2853 | 126.0622 | 215.5774
104 | 2021-05-09 | TEM1 | 62.3658 | 39.7808 |  | 22.5851 |  | 1.5677 | 1.6037 | 1.2848 | 131.5408 | 220.9107
105 | 2021-05-16 | TEM1 | 63.8755 | 42.4102 |  | 21.4653 |  | 1.5061 | 1.4487 | 1.1483 | 133.9066 | 225.407
106 | 2021-05-23 | TEM1 | 62.3708 | 44.076 |  | 18.2949 |  | 1.4151 | 1.5783 | 1.3039 | 134.6088 | 224.6659
107 | 2021-05-30 | TEM1 | 64.6923 | 52.5239 |  | 12.1684 |  | 1.2317 | 1.6138 | 1.3182 | 139.0692 | 231.4562
108 | 2021-06-06 | TEM1 | 64.4637 | 63.2268 |  | 1.237 |  | 1.0196 | 1.5885 | 1.3337 | 144.3311 | 236.218
109 | 2021-06-13 | TEM1 | 67.0683 | 66.5217 |  | 0.54662 |  | 1.0082 | 1.611 | 1.3387 | 146.5241 | 237.3317
110 | 2021-06-20 | TEM1 | 64.2707 | 66.7054 | 64.2707 | -2.4348 |  | 0.9635 | 1.5836 | 1.3296 | 146.8092 | 233.3141
111 | 2021-06-27 | TEM1 | 66.251 | 68.079 | 66.251 | -1.828 |  | 0.97315 | 1.5869 | 1.3351 | 148.5887 | 236.7909
112 | 2021-07-04 | TEM1 | 66.4601 | 67.7214 | 66.4601 | -1.2613 |  | 0.98138 | 1.5622 | 1.3328 | 150.4246 | 238.1853
113 | 2021-07-11 | TEM1 | 67.4402 | 90.7113 | 67.4402 | -23.2711 |  | 0.74346 | 1.5514 | 1.3751 | 160.34 | 249.4211
114 | 2021-07-18 | TEM1 | 68.79 | 105.8737 | 68.79 | -37.0837 |  | 0.64974 | 1.5352 | 1.4073 | 167.018 | 258.4769
115 | 2021-07-25 | TEM1 | 68.8652 | 104.3349 | 68.8652 | -35.4697 |  | 0.66004 | 1.5276 | 1.3953 | 166.6835 | 257.4435
116 | 2021-08-01 | TEM1 | 71.2778 | 104.1267 | 71.2778 | -32.8489 |  | 0.68453 | 1.5649 | 1.3943 | 168.7394 | 261.8943
117 | 2021-08-08 | TEM1 | 71.3439 | 105.8883 | 71.3439 | -34.5444 |  | 0.67377 | 1.556 | 1.3982 | 170.8916 | 264.2098
118 | 2021-08-15 | TEM1 | 69.4695 | 103.6581 | 69.4695 | -34.1886 |  | 0.67018 | 1.5496 | 1.3943 | 170.1894 | 262.5095
119 | 2021-08-22 | TEM1 | 70.8064 | 101.8289 | 70.8064 | -31.0225 |  | 0.69535 | 1.555 | 1.3806 | 174.5426 | 267.3943
120 | 2021-08-29 | TEM1 | 70.7302 | 103.1416 | 70.7302 | -32.4114 |  | 0.68576 | 1.5424 | 1.3827 | 176.2348 | 269.6927
121 | 2021-09-05 | TEM1 | 78.8007 | 103.9049 | 78.8007 | -25.1042 |  | 0.75839 | 1.5637 | 1.3809 | 176.6825 | 277.8155
122 | 2021-09-12 | TEM1 | 104.8973 | 114.2918 | 104.8973 | -9.3945 |  | 0.9178 | 1.5856 | 1.394 | 195.6017 | 323.2626
123 | 2021-09-19 | TEM1 | 235.989 | 213.7498 |  | 22.2392 |  | 1.104 | 1.6419 | 1.5239 | 331.9142 | 595.3304
124 | 2021-09-26 | TEM1 | 383.5356 | 374.0042 |  | 9.5314 |  | 1.0255 | 1.7287 | 1.7415 | 426.847 | 842.631
125 | 2021-10-03 | TEM1 | 433.7025 | 381.1163 |  | 52.5861 |  | 1.138 | 1.763 | 1.7471 | 428.8964 | 895.4804
126 | 2021-10-10 | TEM1 | 492.6289 | 386.9664 |  | 105.6625 |  | 1.2731 | 1.819 | 1.7489 | 433.4424 | 958.6458
127 | 2021-10-17 | TEM1 | 411.6934 | 389.3513 |  | 22.342 |  | 1.0574 | 1.7404 | 1.7449 | 434.2229 | 879.2509
128 | 2021-10-24 | TEM1 | 415.7582 | 395.7452 |  | 20.013 |  | 1.0506 | 1.751 | 1.7533 | 437.7269 | 886.7515
129 | 2021-10-31 | TEM1 | 435.5361 | 399.5089 |  | 36.0272 |  | 1.0902 | 1.7826 | 1.7547 | 438.0474 | 907.1365
130 | 2021-11-07 | TEM1 | 415.8607 | 400.8712 |  | 14.9896 |  | 1.0374 | 1.7433 | 1.7523 | 440.024 | 888.8599
131 | 2021-11-14 | TEM1 | 426.2526 | 402.4522 |  | 23.8004 |  | 1.0591 | 1.7616 | 1.7487 | 441.5184 | 900.8868
132 | 2021-11-21 | TEM1 | 422.8871 | 400.4651 |  | 22.422 |  | 1.056 | 1.7587 | 1.7457 | 442.123 | 898.3263
133 | 2021-11-28 | TEM1 | 412.0532 | 401.6281 |  | 10.4251 |  | 1.026 | 1.7665 | 1.7605 | 444.0212 | 889.5283
134 | 2021-12-05 | TEM1 | 399.575 | 405.4902 | 399.575 | -5.9152 |  | 0.98541 | 1.7374 | 1.7551 | 445.9866 | 877.7774
135 | 2021-12-12 | TEM1 | 405.1694 | 409.7419 | 405.1694 | -4.5725 |  | 0.98884 | 1.7504 | 1.7598 | 448.5015 | 886.6146
136 | 2021-12-19 | TEM1 | 415.3347 | 410.3682 |  | 4.9666 |  | 1.0121 | 1.7579 | 1.7583 | 448.8635 | 896.5283
137 | 2021-12-26 | TEM1 | 416.6403 | 410.8736 |  | 5.7667 |  | 1.014 | 1.7696 | 1.7611 | 449.255 | 898.2783
138 | 2022-01-02 | TEM1 | 399.6366 | 409.6895 | 399.6366 | -10.0528 | -10.0528 | 0.97546 | 1.7378 | 1.7571 | 449.7956 | 881.7202
139 | 2022-01-09 | TEM1 | 412.9011 | 413.0821 | 412.9011 | -0.18099 | -10.2338 | 0.99956 | 1.7648 | 1.7614 | 451.2738 | 897.5952
140 | 2022-01-16 | TEM1 | 424.9977 | 413.8176 |  | 11.1801 | 0.94625 | 1.027 | 1.7753 | 1.7574 | 452.1525 | 909.8214
141 | 2022-01-23 | TEM1 | 426.7302 | 420.672 |  | 6.0583 | 7.0045 | 1.0144 | 1.7728 | 1.7673 | 454.391 | 914.8051
142 | 2022-01-30 | TEM1 | 417.5347 | 422.8319 | 417.5347 | -5.2971 | 1.7074 | 0.98747 | 1.7602 | 1.7641 | 456.7759 | 907.1161
143 | 2022-02-06 | TEM1 | 426.6178 | 427.4724 | 426.6178 | -0.85465 | 0.85272 | 0.998 | 1.7619 | 1.7611 | 466.8776 | 927.4627
144 | 2022-02-13 | TEM1 | 438.6807 | 428.5306 |  | 10.1501 | 11.0028 | 1.0237 | 1.7671 | 1.7589 | 468.7299 | 941.7768
145 | 2022-02-20 | TEM1 | 427.6427 | 429.37 | 427.6427 | -1.7273 | 9.2756 | 0.99598 | 1.7533 | 1.7552 | 469.7188 | 930.6726
146 | 2022-02-27 | TEM1 | 425.0908 | 429.3679 | 425.0908 | -4.2771 | 4.9984 | 0.99004 | 1.7508 | 1.7539 | 470.1187 | 928.5327
147 | 2022-03-06 | TEM1 | 429.6694 | 433.2004 | 429.6694 | -3.5311 | 1.4674 | 0.99185 | 1.7541 | 1.7563 | 470.5882 | 933.5655
148 | 2022-03-13 | TEM1 | 95.7173 | 95.6881 |  | 0.029217 | 1.4966 | 1.0003 | 0.79878 | 0.79839 | 102.7984 | 208.425
0 | 2019-05-12 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.019056 | 467.9847 | 0
1 | 2019-05-19 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.018692 | 477.098 | 0
2 | 2019-05-26 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.018018 | 494.9565 | 0
3 | 2019-06-02 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.017201 | 518.4755 | 0
4 | 2019-06-09 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.016932 | 526.6923 | 0
5 | 2019-06-16 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.016774 | 531.6541 | 0
6 | 2019-06-23 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.016753 | 532.3358 | 0
7 | 2019-06-30 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.016703 | 533.9385 | 0
8 | 2019-07-07 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.01663 | 536.2707 | 0
9 | 2019-07-14 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.016458 | 541.8568 | 0
10 | 2019-07-21 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.016267 | 548.2444 | 0
11 | 2019-07-28 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.01626 | 548.4632 | 0
12 | 2019-08-04 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.016173 | 551.4292 | 0
13 | 2019-08-11 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.01607 | 554.9535 | 0
14 | 2019-08-18 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.016022 | 556.6093 | 0
15 | 2019-08-25 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.016013 | 556.938 | 0
16 | 2019-09-01 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.015987 | 557.8349 | 0
17 | 2019-09-08 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.015992 | 557.6665 | 0
18 | 2019-09-15 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.015976 | 558.223 | 0
19 | 2019-09-22 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.015889 | 561.2752 | 0
20 | 2019-09-29 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.015834 | 563.2403 | 0
21 | 2019-10-06 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.015781 | 565.1193 | 0
22 | 2019-10-13 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.015711 | 567.6258 | 0
23 | 2019-10-20 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.01565 | 569.8649 | 0
24 | 2019-10-27 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.015526 | 574.4091 | 0
25 | 2019-11-03 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.015346 | 581.1207 | 0
26 | 2019-11-10 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.015293 | 583.1529 | 0
27 | 2019-11-17 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.015176 | 587.6472 | 0
28 | 2019-11-24 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.015075 | 591.5813 | 0
29 | 2019-12-01 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.015061 | 592.1216 | 0
30 | 2019-12-08 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.015024 | 593.5907 | 0
31 | 2019-12-15 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.0149 | 598.5504 | 0
32 | 2019-12-22 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.014844 | 600.7976 | 0
33 | 2019-12-29 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.014856 | 600.3033 | 0
34 | 2020-01-05 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.014843 | 600.8449 | 0
35 | 2020-01-12 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.014822 | 601.6853 | 0
36 | 2020-01-19 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.014792 | 602.9011 | 0
37 | 2020-01-26 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.014751 | 604.5747 | 0
38 | 2020-02-02 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.014737 | 605.1638 | 0
39 | 2020-02-09 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.014662 | 608.2607 | 0
40 | 2020-02-16 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.014576 | 611.8544 | 0
41 | 2020-02-23 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.014482 | 615.7892 | 0
42 | 2020-03-01 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.014429 | 618.0718 | 0
43 | 2020-03-08 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.014284 | 624.3473 | 0
44 | 2020-03-15 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.014271 | 624.9299 | 0
45 | 2020-03-22 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.014081 | 633.344 | 0
46 | 2020-03-29 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.01405 | 634.7378 | 0
47 | 2020-04-05 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.014024 | 635.9072 | 0
48 | 2020-04-12 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.013939 | 639.7929 | 0
49 | 2020-04-19 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.013929 | 640.2499 | 0
50 | 2020-04-26 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.013891 | 642.0239 | 0
51 | 2020-05-03 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.013882 | 642.4336 | 0
52 | 2020-05-10 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.013863 | 643.3258 | 0
53 | 2020-05-17 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.013852 | 643.8236 | 0
54 | 2020-05-24 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.013862 | 643.3656 | 0
55 | 2020-05-31 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.013845 | 644.1318 | 0
56 | 2020-06-07 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.013788 | 646.784 | 0
57 | 2020-06-14 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.013765 | 647.9052 | 0
58 | 2020-06-21 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.01365 | 653.3257 | 0
59 | 2020-06-28 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.013581 | 656.6767 | 0
60 | 2020-07-05 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.01356 | 657.6846 | 0
61 | 2020-07-12 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.013542 | 658.5463 | 0
62 | 2020-07-19 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.013554 | 657.9587 | 0
63 | 2020-07-26 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.01353 | 659.1355 | 0
64 | 2020-08-02 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.013456 | 662.7493 | 0
65 | 2020-08-09 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.013393 | 665.8839 | 0
66 | 2020-08-16 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.013266 | 672.2415 | 0
67 | 2020-08-23 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.013275 | 671.7829 | 0
68 | 2020-08-30 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.01329 | 671.0611 | 0
69 | 2020-09-06 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.013247 | 673.1934 | 0
70 | 2020-09-13 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.013157 | 677.8425 | 0
71 | 2020-09-20 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.013153 | 678.042 | 0
72 | 2020-09-27 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.013181 | 676.6008 | 0
73 | 2020-10-04 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.013169 | 677.2245 | 0
74 | 2020-10-11 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.013086 | 681.5165 | 0
75 | 2020-10-18 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.012996 | 686.2338 | 0
76 | 2020-10-25 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.012955 | 688.3723 | 0
77 | 2020-11-01 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.012911 | 690.7348 | 0
78 | 2020-11-08 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.01305 | 683.3917 | 0
79 | 2020-11-15 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.012842 | 694.4345 | 0
80 | 2020-11-22 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.012833 | 694.9267 | 0
81 | 2020-11-29 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.012639 | 705.5803 | 0
82 | 2020-12-06 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.012599 | 707.825 | 0
83 | 2020-12-13 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.012642 | 705.4517 | 0
84 | 2020-12-20 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.012667 | 704.0681 | 0
85 | 2020-12-27 | Total | 0 | 8.9181 | 0 | -8.9181 |  | 0 | 0 | 0.012624 | 706.457 | 0
86 | 2021-01-03 | Total | 61491.4142 | 1225.9969 |  | 60265.4173 |  | 50.1563 | 79.9386 | 52.8039 | 2220.9779 | 177541.7529
87 | 2021-01-10 | Total | 413.0126 | 75.3088 |  | 337.7038 |  | 5.4843 | 1.6533 | 1.2422 | 821.5664 | 1358.2736
88 | 2021-01-17 | Total | 415.3631 | 76.0634 |  | 339.2997 |  | 5.4607 | 1.4033 | 0.99168 | 824.2547 | 1156.6985
89 | 2021-01-24 | Total | 412.1746 | 75.3511 |  | 336.8234 |  | 5.4701 | 1.6585 | 1.246 | 816.6122 | 1354.3617
90 | 2021-01-31 | Total | 410.9205 | 77.6238 |  | 333.2967 |  | 5.2937 | 1.6462 | 1.2362 | 812.8267 | 1338.1031
91 | 2021-02-07 | Total | 415.9206 | 77.1468 |  | 338.7739 |  | 5.3913 | 1.6594 | 1.2448 | 817.0762 | 1355.8301
92 | 2021-02-14 | Total | 422.5689 | 76.7313 |  | 345.8376 |  | 5.5071 | 1.666 | 1.2436 | 818.6097 | 1363.8302
93 | 2021-02-21 | Total | 411.5161 | 75.5292 |  | 335.9869 |  | 5.4484 | 1.6494 | 1.237 | 814.7593 | 1343.8455
94 | 2021-02-28 | Total | 412.7852 | 79.7048 |  | 333.0804 |  | 5.1789 | 1.6504 | 1.2448 | 821.4032 | 1355.6033
95 | 2021-03-07 | Total | 406.7883 | 92.5977 |  | 314.1906 |  | 4.3931 | 1.6453 | 1.2641 | 824.1907 | 1356.0106
96 | 2021-03-14 | Total | 398.1161 | 94.7692 |  | 303.3469 |  | 4.2009 | 1.6258 | 1.2573 | 823.248 | 1338.4567
97 | 2021-03-21 | Total | 408.9753 | 96.3027 |  | 312.6726 |  | 4.2468 | 1.6579 | 1.279 | 825.0161 | 1367.8337
98 | 2021-03-28 | Total | 418.7324 | 95.8562 |  | 322.8762 |  | 4.3683 | 1.6421 | 1.2502 | 823.9663 | 1353.0313
99 | 2021-04-04 | Total | 401.9125 | 95.6832 |  | 306.2293 |  | 4.2005 | 1.6451 | 1.2748 | 826.818 | 1360.2203
100 | 2021-04-11 | Total | 401.8442 | 95.4248 |  | 306.4194 |  | 4.2111 | 1.633 | 1.2624 | 826.71 | 1350.0389
101 | 2021-04-18 | Total | 408.8444 | 99.9052 |  | 308.9391 |  | 4.0923 | 1.6578 | 1.285 | 828.6413 | 1373.7102
102 | 2021-04-25 | Total | 391.3073 | 98.8835 |  | 292.4238 |  | 3.9573 | 1.6247 | 1.2716 | 828.0815 | 1345.4162
103 | 2021-05-02 | Total | 390.5901 | 105.9025 |  | 284.6875 |  | 3.6882 | 1.6294 | 1.2853 | 827.4695 | 1348.2551
104 | 2021-05-09 | Total | 389.6062 | 123.3739 |  | 266.2323 |  | 3.1579 | 1.6037 | 1.2848 | 834.9572 | 1338.9957
105 | 2021-05-16 | Total | 377.0518 | 124.1104 |  | 252.9414 |  | 3.038 | 1.4487 | 1.1483 | 842.1353 | 1220.0004
106 | 2021-05-23 | Total | 358.5633 | 127.1149 |  | 231.4484 |  | 2.8208 | 1.5783 | 1.3039 | 843.4748 | 1331.2311
107 | 2021-05-30 | Total | 393.0065 | 142.1165 |  | 250.89 |  | 2.7654 | 1.6138 | 1.3182 | 848.882 | 1369.9068
108 | 2021-06-06 | Total | 379.5159 | 161.5676 |  | 217.9483 |  | 2.349 | 1.5885 | 1.3337 | 855.4721 | 1358.9226
109 | 2021-06-13 | Total | 400.4412 | 166.4076 |  | 234.0335 |  | 2.4064 | 1.611 | 1.3387 | 859.5007 | 1384.6674
110 | 2021-06-20 | Total | 386.0482 | 167.6393 |  | 218.4088 |  | 2.3028 | 1.5836 | 1.3296 | 859.8276 | 1361.6357
111 | 2021-06-27 | Total | 385.5062 | 167.9479 |  | 217.5582 |  | 2.2954 | 1.5869 | 1.3351 | 864.253 | 1371.4496
112 | 2021-07-04 | Total | 367.3747 | 169.1054 |  | 198.2693 |  | 2.1725 | 1.5622 | 1.3328 | 864.1273 | 1349.9466
113 | 2021-07-11 | Total | 364.7007 | 210.3264 |  | 154.3742 |  | 1.734 | 1.5514 | 1.3751 | 876.0574 | 1359.0822
114 | 2021-07-18 | Total | 349.7781 | 236.5922 |  | 113.186 |  | 1.4784 | 1.5352 | 1.4073 | 884.8919 | 1358.5158
115 | 2021-07-25 | Total | 349.1795 | 231.9491 |  | 117.2305 |  | 1.5054 | 1.5276 | 1.3953 | 886.0883 | 1353.5956
116 | 2021-08-01 | Total | 383.1051 | 231.3032 |  | 151.8018 |  | 1.6563 | 1.5649 | 1.3943 | 889.4349 | 1391.9036
117 | 2021-08-08 | Total | 374.2397 | 233.1089 |  | 141.1308 |  | 1.6054 | 1.556 | 1.3982 | 894.124 | 1391.2574
118 | 2021-08-15 | Total | 367.8976 | 228.9415 |  | 138.9561 |  | 1.607 | 1.5496 | 1.3943 | 894.3138 | 1385.8533
119 | 2021-08-22 | Total | 380.6904 | 223.1833 |  | 157.5071 |  | 1.7057 | 1.555 | 1.3806 | 903.0505 | 1404.2878
120 | 2021-08-29 | Total | 368.6151 | 223.5211 |  | 145.094 |  | 1.6491 | 1.5424 | 1.3827 | 908.8381 | 1401.7619
121 | 2021-09-05 | Total | 390.3802 | 224.2156 |  | 166.1646 |  | 1.7411 | 1.5637 | 1.3809 | 909.1925 | 1421.6856
122 | 2021-09-12 | Total | 421.7289 | 243.6768 |  | 178.0522 |  | 1.7307 | 1.5856 | 1.394 | 928.9513 | 1472.9762
123 | 2021-09-19 | Total | 553.2354 | 427.7617 |  | 125.4737 |  | 1.2933 | 1.6419 | 1.5239 | 1063.9598 | 1746.8833
124 | 2021-09-26 | Total | 711.2052 | 726.026 | 711.2052 | -14.8208 |  | 0.97959 | 1.7287 | 1.7415 | 1159.0632 | 2003.73
125 | 2021-10-03 | Total | 754.9097 | 736.4292 |  | 18.4805 |  | 1.0251 | 1.763 | 1.7471 | 1163.3345 | 2050.9625
126 | 2021-10-10 | Total | 826.3139 | 744.3319 |  | 81.982 |  | 1.1101 | 1.819 | 1.7489 | 1169.679 | 2127.6345
127 | 2021-10-17 | Total | 742.077 | 747.3887 | 742.077 | -5.3117 |  | 0.99289 | 1.7404 | 1.7449 | 1171.0894 | 2038.1564
128 | 2021-10-24 | Total | 753.7218 | 756.4844 | 753.7218 | -2.7627 |  | 0.99635 | 1.751 | 1.7533 | 1178.6106 | 2063.7223
129 | 2021-10-31 | Total | 793.532 | 760.5858 |  | 32.9461 |  | 1.0433 | 1.7826 | 1.7547 | 1181.4053 | 2106.0101
130 | 2021-11-07 | Total | 752.3817 | 763.0425 | 752.3817 | -10.6608 |  | 0.98603 | 1.7433 | 1.7523 | 1184.7987 | 2065.4402
131 | 2021-11-14 | Total | 781.2117 | 765.8011 |  | 15.4106 |  | 1.0201 | 1.7616 | 1.7487 | 1186.4837 | 2090.1557
132 | 2021-11-21 | Total | 777.5596 | 762.0954 |  | 15.4642 |  | 1.0203 | 1.7587 | 1.7457 | 1187.1404 | 2087.8815
133 | 2021-11-28 | Total | 774.6005 | 767.5432 |  | 7.0573 |  | 1.0092 | 1.7665 | 1.7605 | 1187.8591 | 2098.3019
134 | 2021-12-05 | Total | 749.7493 | 770.8667 | 749.7493 | -21.1173 |  | 0.97261 | 1.7374 | 1.7551 | 1195.724 | 2077.4717
135 | 2021-12-12 | Total | 765.4629 | 776.7296 | 765.4629 | -11.2667 |  | 0.98549 | 1.7504 | 1.7598 | 1199.7869 | 2100.1521
136 | 2021-12-19 | Total | 777.5584 | 778.0931 | 777.5584 | -0.53464 |  | 0.99931 | 1.7579 | 1.7583 | 1200.1277 | 2109.6455
137 | 2021-12-26 | Total | 789.3663 | 779.2021 |  | 10.1642 |  | 1.013 | 1.7696 | 1.7611 | 1200.2788 | 2124.0187
138 | 2022-01-02 | Total | 753.8473 | 777.0035 | 753.8473 | -23.1562 | -23.1562 | 0.9702 | 1.7378 | 1.7571 | 1200.4952 | 2086.2455
139 | 2022-01-09 | Total | 786.3415 | 782.259 |  | 4.0825 | -19.0736 | 1.0052 | 1.7648 | 1.7614 | 1203.9495 | 2124.6782
140 | 2022-01-16 | Total | 803.6827 | 782.0715 |  | 21.6112 | 2.5376 | 1.0276 | 1.7753 | 1.7574 | 1207.1633 | 2143.1133
141 | 2022-01-23 | Total | 800.4993 | 793.8656 |  | 6.6337 | 9.1713 | 1.0084 | 1.7728 | 1.7673 | 1210.7685 | 2146.4811
142 | 2022-01-30 | Total | 790.5117 | 795.2692 | 790.5117 | -4.7575 | 4.4139 | 0.99402 | 1.7602 | 1.7641 | 1214.6452 | 2138.0586
143 | 2022-02-06 | Total | 801.977 | 800.9994 |  | 0.97751 | 5.3914 | 1.0012 | 1.7619 | 1.7611 | 1227.609 | 2162.9191
144 | 2022-02-13 | Total | 810.3263 | 800.213 |  | 10.1133 | 15.5047 | 1.0126 | 1.7671 | 1.7589 | 1235.022 | 2182.4344
145 | 2022-02-20 | Total | 797.9608 | 800.308 | 797.9608 | -2.3471 | 13.1575 | 0.99707 | 1.7533 | 1.7552 | 1238.3223 | 2171.1305
146 | 2022-02-27 | Total | 796.3076 | 800.1668 | 796.3076 | -3.8592 | 9.2984 | 0.99518 | 1.7508 | 1.7539 | 1240.0047 | 2170.9785
147 | 2022-03-06 | Total | 802.711 | 805.4965 | 802.711 | -2.7855 | 6.5129 | 0.99654 | 1.7541 | 1.7563 | 1242.5779 | 2179.5761
148 | 2022-03-13 | Total | 181.1483 | 180.9102 |  | 0.23808 | 6.751 | 1.0013 | 0.79878 | 0.79839 | 614.5432 | 490.885