## Annualised Power Consumption
Timestamp | Total Incoming
2021-12-31 | 7111207.8184
2022-12-31 | 2610705.9668

## Incomer Sources
0
Generator | 8348.957
Mains | 8197486.7187

## SEU Data
0
HVAC | 12.6971
IT Load | 59.785
Small Power and Other | 27.5179

## TEM8 Target Parameters w
R2 = 0.18571901240904465
const | 31.3077
JB3_TEM_14_A.J3_TEM_14_CCL_UPS_A#Real Energy Into the Load#kWh | 0.90591

## TEM8 Fitting Parameters w
R2 = 0.09336864536938128
const | 93.7072
JB3_TEM_14_A.J3_TEM_14_CCL_UPS_A#Real Energy Into the Load#kWh | 0.208

## TEM9 Target Parameters w
R2 = 0.6790800064982374
const | -1.5134
JB3_TEM9.JB3_TEM9_Mechanical_UPS_E#Real Energy Into the Load#kWh | 2.4636

## TEM9 Fitting Parameters w
R2 = 0.44770360243564367
const | -63.668
JB3_TEM9.JB3_TEM9_Mechanical_UPS_E#Real Energy Into the Load#kWh | 8.9188

## TEM14 Target Parameters w
R2 = 0.9378568969316843
const | -0.025103
JB3_TEM8.JB3_TEM8_UPS_System_D#Real Energy Into the Load#kWh | -1.0708
JB3_TEM9.JB3_TEM9_Mechanical_UPS_E#Real Energy Into the Load#kWh | 2.2102
JB3_TEM_14_B.J3_TEM_14_CCL_UPS_B#Real Energy Into the Load#kWh | 0.96632
JB3_TEM_14_E.J3_TEM_14_CCL_UPS_E#Real Energy Into the Load#kWh | 0.020355

## TEM14 Fitting Parameters w
R2 = 0.9980088668290592
const | -3856.057
JB3_TEM8.JB3_TEM8_UPS_System_D#Real Energy Into the Load#kWh | 261.382
JB3_TEM9.JB3_TEM9_Mechanical_UPS_E#Real Energy Into the Load#kWh | 0.92285
JB3_TEM_14_B.J3_TEM_14_CCL_UPS_B#Real Energy Into the Load#kWh | -0.45729
JB3_TEM_14_E.J3_TEM_14_CCL_UPS_E#Real Energy Into the Load#kWh | 1.3679

## TEM12 Target Parameters w
R2 = 0.7813619227708049
const | -2.099
JB3_TEM9.JB3_TEM9_Mechanical_UPS_D#Real Energy Into the Load#kWh | 1.6596
JB3_TEM9.JB3_TEM9_Mechanical_UPS_E#Real Energy Into the Load#kWh | -0.11098
JB3_TEM_14_A.J3_TEM_14_CCL_UPS_A#Real Energy Into the Load#kWh | -0.3974
JB3_TEM_14_B.J3_TEM_14_CCL_UPS_B#Real Energy Into the Load#kWh | 1.1297

## TEM12 Fitting Parameters w
R2 = 0.986812656353515
const | 67.2393
JB3_TEM9.JB3_TEM9_Mechanical_UPS_D#Real Energy Into the Load#kWh | -3.7893
JB3_TEM9.JB3_TEM9_Mechanical_UPS_E#Real Energy Into the Load#kWh | 2.1097
JB3_TEM_14_A.J3_TEM_14_CCL_UPS_A#Real Energy Into the Load#kWh | -0.29166
JB3_TEM_14_B.J3_TEM_14_CCL_UPS_B#Real Energy Into the Load#kWh | 1.0366

## Total Target Parameters w
R2 = 0.5237494572603152
const | -15.1126
JB3_TEM8.JB3_TEM8_UPS_System_A#Real Energy Into the Load#kWh | -3.3941
JB3_TEM8.JB3_TEM8_UPS_System_C#Real Energy Into the Load#kWh | 7.5354
JB3_TEM9.JB3_TEM9_Mechanical_UPS_B#Real Energy Into the Load#kWh | 4.4078
JB3_TEM_14_A.J3_TEM_14_CCL_UPS_A#Real Energy Into the Load#kWh | 0.90368

## Total Fitting Parameters w
R2 = 0.9844045681735549
const | 3783.5334
JB3_TEM8.JB3_TEM8_UPS_System_A#Real Energy Into the Load#kWh | -290.5839
JB3_TEM8.JB3_TEM8_UPS_System_C#Real Energy Into the Load#kWh | 298.0474
JB3_TEM9.JB3_TEM9_Mechanical_UPS_B#Real Energy Into the Load#kWh | 6.8538
JB3_TEM_14_A.J3_TEM_14_CCL_UPS_A#Real Energy Into the Load#kWh | 0.74217

## Plotting Data
| Timestamp | TEM | Actual HVAC Power kWh | Predicted HVAC Power kWh | Target HVAC Power kWh | Difference kWh | Cusum kWh | ENPI | PUE | Target PUE | Total UPS Power | Total Incoming Power
0 | 2021-01-03 | TEM8 | 60.8085 | 93.7072 | 60.8085 | -32.8987 |  | 0.64892 | 4.2074 | 40.095 | 57.0375 | 225.985
1 | 2021-01-10 | TEM8 | 59.2389 | 93.7072 | 59.2389 | -34.4683 |  | 0.63217 | 3.9718 | 35.3381 | 53.4172 | 221.6127
2 | 2021-01-17 | TEM8 | 36.966 | 93.7072 | 36.966 | -56.7412 |  | 0.39448 | 5.4694 | 57.4209 | 21.5617 | 166.0445
3 | 2021-01-24 | TEM8 | 88.0264 | 93.7072 | 88.0264 | -5.6808 |  | 0.93938 | 7.7249 | 76.612 | 26.5635 | 221.4004
4 | 2021-01-31 | TEM8 | 30.4286 | 93.7072 | 30.4286 | -63.2786 |  | 0.32472 | 7.1433 | 85.2386 | 15.6614 | 159.9728
5 | 2021-02-07 | TEM8 | 23.7037 | 93.7072 | 23.7037 | -70.0035 |  | 0.25295 | 7.0764 | 86.4709 | 21.9396 | 160.643
6 | 2021-02-14 | TEM8 | 54.6945 | 93.7072 | 54.6945 | -39.0127 |  | 0.58367 | 6.3072 | 67.6544 | 16.0323 | 179.0426
7 | 2021-02-21 | TEM8 | 38.2462 | 93.7072 | 38.2462 | -55.461 |  | 0.40815 | 5.2144 | 45.1467 | 27.588 | 172.9506
8 | 2021-02-28 | TEM8 | 39.0317 | 93.7072 | 39.0317 | -54.6755 |  | 0.41653 | 3.9186 | 28.953 | 50.0071 | 201.5734
9 | 2021-03-07 | TEM8 | 58.1462 | 93.7072 | 58.1462 | -35.561 |  | 0.62051 | 3.6232 | 31.1762 | 54.136 | 220.9787
10 | 2021-03-14 | TEM8 | 89.4924 | 93.7072 | 89.4924 | -4.2148 |  | 0.95502 | 3.7406 | 30.8334 | 67.2128 | 262.5065
11 | 2021-03-21 | TEM8 | 38.6155 | 93.7072 | 38.6155 | -55.0917 |  | 0.41209 | 3.343 | 21.2696 | 67.7743 | 215.8405
12 | 2021-03-28 | TEM8 | 25.5972 | 93.7072 | 25.5972 | -68.11 |  | 0.27316 | 2.8683 | 12.6118 | 91.4389 | 224.5795
13 | 2021-04-04 | TEM8 | 36.835 | 93.7072 | 36.835 | -56.8722 |  | 0.39309 | 2.6945 | 11.8989 | 90.8434 | 223.394
14 | 2021-04-11 | TEM8 | 61.4299 | 93.7072 | 61.4299 | -32.2773 |  | 0.65555 | 2.6792 | 12.0906 | 94.1856 | 248.0685
15 | 2021-04-18 | TEM8 | 53.2278 | 93.7072 | 53.2278 | -40.4794 |  | 0.56802 | 2.6209 | 13.8901 | 100.1396 | 247.1849
16 | 2021-04-25 | TEM8 | 18.1099 | 93.7072 | 18.1099 | -75.5973 |  | 0.19326 | 2.509 | 15.0039 | 91.6884 | 207.2241
17 | 2021-05-02 | TEM8 | 21.3509 | 93.7072 | 21.3509 | -72.3563 |  | 0.22785 | 2.5724 | 15.2775 | 99.6167 | 219.3614
18 | 2021-05-09 | TEM8 | 17.1383 | 93.7072 | 17.1383 | -76.5689 |  | 0.18289 | 2.3999 | 15.1293 | 93.6521 | 209.0299
19 | 2021-05-16 | TEM8 | 26.4603 | 93.7072 | 26.4603 | -67.2469 |  | 0.28237 | 2.4792 | 14.7443 | 100.2033 | 221.5243
20 | 2021-05-23 | TEM8 | 22.4049 | 93.7072 | 22.4049 | -71.3023 |  | 0.23909 | 2.4635 | 14.6028 | 99.6876 | 223.431
21 | 2021-05-30 | TEM8 | 23.4846 | 93.7072 | 23.4846 | -70.2226 |  | 0.25062 | 2.4403 | 14.2785 | 100.9559 | 226.4805
22 | 2021-06-06 | TEM8 | 8.7285 | 93.7072 | 8.7285 | -84.9787 |  | 0.093146 | 2.4197 | 14.411 | 98.8411 | 215.5757
23 | 2021-06-13 | TEM8 | 10.0035 | 93.7072 | 10.0035 | -83.7037 |  | 0.10675 | 2.4802 | 15.2997 | 91.2862 | 206.4379
24 | 2021-06-20 | TEM8 | 19.7868 | 93.7072 | 19.7868 | -73.9204 |  | 0.21116 | 2.5033 | 15.295 | 95.7449 | 218.5779
25 | 2021-06-27 | TEM8 | 17.1525 | 93.7072 | 17.1525 | -76.5547 |  | 0.18304 | 2.4488 | 15.2837 | 99.2411 | 218.625
26 | 2021-07-04 | TEM8 | 21.7683 | 93.7072 | 21.7683 | -71.9389 |  | 0.2323 | 2.4168 | 14.7802 | 96.1269 | 218.6483
27 | 2021-07-11 | TEM8 | 18.3646 | 93.7072 | 18.3646 | -75.3426 |  | 0.19598 | 2.0259 | 11.0857 | 104.7693 | 231.0619
28 | 2021-07-18 | TEM8 | 7.4267 | 93.7072 | 7.4267 | -86.2805 |  | 0.079255 | 1.9167 | 10.5307 | 99.7751 | 216.1892
29 | 2021-07-25 | TEM8 | 6.4317 | 93.7072 | 6.4317 | -87.2755 |  | 0.068636 | 1.9003 | 11.0829 | 101.9378 | 217.2677
30 | 2021-08-01 | TEM8 | 6.3385 | 93.7072 | 6.3385 | -87.3687 |  | 0.067642 | 1.864 | 10.2804 | 100.7646 | 212.2472
31 | 2021-08-08 | TEM8 | 26.2018 | 93.7072 | 26.2018 | -67.5054 |  | 0.27961 | 1.6546 | 7.635 | 101.1923 | 225.3359
32 | 2021-08-15 | TEM8 | 21.239 | 93.7072 | 21.239 | -72.4683 |  | 0.22665 | 1.6295 | 7.4808 | 107.257 | 231.9496
33 | 2021-08-22 | TEM8 | 21.7145 | 93.7072 | 21.7145 | -71.9927 |  | 0.23173 | 1.6345 | 7.3715 | 102.7309 | 223.0326
34 | 2021-08-29 | TEM8 | 27.8954 | 93.7072 | 27.8954 | -65.8118 |  | 0.29769 | 1.6431 | 7.345 | 108.2792 | 231.7381
35 | 2021-09-05 | TEM8 | 44.1161 | 93.7072 | 44.1161 | -49.5911 |  | 0.47079 | 1.6507 | 7.1143 | 102.6013 | 241.9263
36 | 2021-09-12 | TEM8 | 48.4314 | 93.7072 | 48.4314 | -45.2758 |  | 0.51684 | 1.5968 | 6.2827 | 107.9407 | 255.5456
37 | 2021-09-19 | TEM8 | 54.7037 | 93.7072 | 54.7037 | -39.0035 |  | 0.58377 | 1.5751 | 5.5768 | 112.2058 | 265.8245
38 | 2021-09-26 | TEM8 | 61.524 | 93.7072 | 61.524 | -32.1832 |  | 0.65656 | 1.5789 | 5.6209 | 104.7618 | 267.4247
39 | 2021-10-03 | TEM8 | 76.5831 | 93.7072 | 76.5831 | -17.1241 |  | 0.81726 | 1.5597 | 5.4871 | 116.3626 | 290.6269
40 | 2021-10-10 | TEM8 | 49.563 | 93.7072 | 49.563 | -44.1442 |  | 0.52891 | 2.1246 | 5.5261 | 101.4849 | 254.4956
41 | 2021-10-17 | TEM8 | 75.1984 | 93.7072 | 75.1984 | -18.5088 |  | 0.80248 | 1.8034 | 4.3891 | 118.5263 | 284.9422
42 | 2021-10-24 | TEM8 | 63.6635 | 93.7072 | 63.6635 | -30.0437 |  | 0.67939 | 1.6529 | 3.8347 | 103.3306 | 263.6116
43 | 2021-10-31 | TEM8 | 34.7332 | 93.7072 | 34.7332 | -58.974 |  | 0.37066 | 1.6631 | 4.2482 | 103.2316 | 243.0585
44 | 2021-11-07 | TEM8 | 112.8273 | 93.7072 |  | 19.12 |  | 1.204 | 1.375 | 2.9262 | 117.4451 | 322.0559
45 | 2021-11-14 | TEM8 | 96.9187 | 93.7072 |  | 3.2115 |  | 1.0343 | 1.4905 | 1.7404 | 139.4995 | 334.5985
46 | 2021-11-21 | TEM8 | 82.9868 | 93.7072 | 82.9868 | -10.7204 |  | 0.8856 | 1.2433 | 1.1141 | 174.9884 | 350.9807
47 | 2021-11-28 | TEM8 | 45.2933 | 93.7072 | 45.2933 | -48.4139 |  | 0.48335 | 1.0491 | 0.97783 | 152.4993 | 303.2807
48 | 2021-12-05 | TEM8 | 104.5117 | 93.7072 |  | 10.8045 |  | 1.1153 | 1.4943 | 1.4689 | 169.6981 | 373.2604
49 | 2021-12-12 | TEM8 | 101.9515 | 93.7072 |  | 8.2443 |  | 1.088 | 1.7515 | 1.7829 | 162.481 | 363.0379
50 | 2021-12-19 | TEM8 | 30.8959 | 93.7072 | 30.8959 | -62.8113 |  | 0.32971 | 4.0443 | 4.1983 | 157.7659 | 288.8497
51 | 2021-12-26 | TEM8 | 48.3006 | 93.7072 | 48.3006 | -45.4066 |  | 0.51544 | 1.7061 | 1.7778 | 165.4566 | 311.1008
52 | 2022-01-02 | TEM8 | 147.9545 | 93.7072 |  | 54.2473 | 54.2473 | 1.5789 | 1.7799 | 1.791 | 162.1953 | 409.9278
53 | 2022-01-09 | TEM8 | 66.7041 | 93.7072 | 66.7041 | -27.0031 | 27.2442 | 0.71184 | 1.733 | 1.751 | 176.0713 | 337.1384
54 | 2022-01-16 | TEM8 | 121.8427 | 93.7072 |  | 28.1355 | 55.3797 | 1.3002 | 1.7574 | 1.763 | 162.3468 | 381.3434
55 | 2022-01-23 | TEM8 | 80.177 | 93.7072 | 80.177 | -13.5302 | 41.8495 | 0.85561 | 1.7504 | 1.7388 | 167.666 | 345.5772
56 | 2022-01-30 | TEM8 | 114.3829 | 93.8323 |  | 20.5506 | 62.4001 | 1.219 | 1.7671 | 1.7755 | 182.7128 | 390.0246
57 | 2022-02-06 | TEM8 | 35.3036 | 93.9161 | 35.3036 | -58.6126 | 3.7875 | 0.37591 | 1.8285 | 1.8271 | 180.1024 | 311.7042
58 | 2022-02-13 | TEM8 | 95.0482 | 99.6985 | 95.0482 | -4.6503 | -0.86278 | 0.95336 | 1.745 | 1.7439 | 198.7038 | 386.2054
59 | 2022-02-20 | TEM8 | 140.119 | 139.2916 |  | 0.82741 | -0.035373 | 1.0059 | 1.641 | 1.6447 | 186.801 | 421.7217
60 | 2022-02-27 | TEM8 | 121.3771 | 114.7286 |  | 6.6485 | 6.6131 | 1.0579 | 1.7184 | 1.7113 | 209.6465 | 419.7087
61 | 2022-03-06 | TEM8 | 106.9765 | 113.8274 | 106.9765 | -6.8508 | -0.23773 | 0.93981 | 1.7108 | 1.7069 | 200.8601 | 404.5577
62 | 2022-03-13 | TEM8 | 86.1644 | 93.9761 | 86.1644 | -7.8117 | -8.0495 | 0.91688 | 1.7657 | 1.7717 | 200.8266 | 389.0063
0 | 2021-01-03 | TEM9 | 45.7675 | 51.8974 | 45.7675 | -6.1299 |  | 0.88188 | 4.2074 | 40.095 | 46.9156 | 211.3878
1 | 2021-01-10 | TEM9 | 68.4902 | 81.0621 | 68.4902 | -12.5719 |  | 0.84491 | 3.9718 | 35.3381 | 65.6251 | 251.1943
2 | 2021-01-17 | TEM9 | 65.35 | 59.8839 |  | 5.4661 |  | 1.0913 | 5.4694 | 57.4209 | 50.6743 | 229.0435
3 | 2021-01-24 | TEM9 | 49.3582 | 17.2101 |  | 32.1481 |  | 2.868 | 7.7249 | 76.612 | 27.0491 | 192.7532
4 | 2021-01-31 | TEM9 | 37.244 | 28.9687 |  | 8.2753 |  | 1.2857 | 7.1433 | 85.2386 | 32.6291 | 184.9816
5 | 2021-02-07 | TEM9 | 35.2376 | 11.1201 |  | 24.1174 |  | 3.1688 | 7.0764 | 86.4709 | 25.6779 | 176.3185
6 | 2021-02-14 | TEM9 | 46.1184 | 28.5985 |  | 17.5198 |  | 1.6126 | 6.3072 | 67.6544 | 44.9896 | 205.837
7 | 2021-02-21 | TEM9 | 39.1384 | -22.1839 |  | 61.3222 |  | -1.7643 | 5.2144 | 45.1467 | 52.744 | 245.9302
8 | 2021-02-28 | TEM9 | 33.4555 | -35.5085 |  | 68.964 |  | -0.94218 | 3.9186 | 28.953 | 55.8337 | 213.1741
9 | 2021-03-07 | TEM9 | 32.4436 | -32.9968 |  | 65.4404 |  | -0.98323 | 3.6232 | 31.1762 | 65.4909 | 212.4513
10 | 2021-03-14 | TEM9 | 37.6487 | -48.7934 |  | 86.4421 |  | -0.77159 | 3.7406 | 30.8334 | 58.2455 | 206.7885
11 | 2021-03-21 | TEM9 | 32.8581 | -35.7723 |  | 68.6304 |  | -0.91853 | 3.343 | 21.2696 | 68.4766 | 239.6509
12 | 2021-03-28 | TEM9 | 36.767 | -50.7062 |  | 87.4732 |  | -0.7251 | 2.8683 | 12.6118 | 60.1499 | 210.2289
13 | 2021-04-04 | TEM9 | 37.692 | -41.6157 |  | 79.3078 |  | -0.90572 | 2.6945 | 11.8989 | 70.0765 | 210.2128
14 | 2021-04-11 | TEM9 | 16.3335 | -46.9751 |  | 63.3086 |  | -0.3477 | 2.6792 | 12.0906 | 67.5053 | 185.1261
15 | 2021-04-18 | TEM9 | 24.9345 | -45.8876 |  | 70.8221 |  | -0.54338 | 2.6209 | 13.8901 | 69.2241 | 196.7081
16 | 2021-04-25 | TEM9 | 17.8877 | -24.6736 |  | 42.5613 |  | -0.72497 | 2.509 | 15.0039 | 75.9284 | 213.3209
17 | 2021-05-02 | TEM9 | 11.9699 | -52.994 |  | 64.9639 |  | -0.22587 | 2.5724 | 15.2775 | 68.9477 | 214.2483
18 | 2021-05-09 | TEM9 | 12.4921 | -40.3395 |  | 52.8317 |  | -0.30967 | 2.3999 | 15.1293 | 73.7154 | 192.6298
19 | 2021-05-16 | TEM9 | 15.586 | -45.723 |  | 61.309 |  | -0.34088 | 2.4792 | 14.7443 | 65.5046 | 189.2944
20 | 2021-05-23 | TEM9 | 10.8046 | -26.0137 |  | 36.8182 |  | -0.41534 | 2.4635 | 14.6028 | 68.14 | 190.0197
21 | 2021-05-30 | TEM9 | 8.6558 | -31.6443 |  | 40.3001 |  | -0.27353 | 2.4403 | 14.2785 | 68.7296 | 187.6084
22 | 2021-06-06 | TEM9 | 6.3628 | -46.1493 |  | 52.5121 |  | -0.13787 | 2.4197 | 14.411 | 65.3151 | 181.6291
23 | 2021-06-13 | TEM9 | 4.8582 | -23.7151 |  | 28.5733 |  | -0.20486 | 2.4802 | 15.2997 | 66.3143 | 184.449
24 | 2021-06-20 | TEM9 | 4.3492 | -12.5865 |  | 16.9358 |  | -0.34555 | 2.5033 | 15.295 | 62.9621 | 178.7135
25 | 2021-06-27 | TEM9 | 3.7798 | -50.4126 |  | 54.1924 |  | -0.074977 | 2.4488 | 15.2837 | 59.6953 | 170.5759
26 | 2021-07-04 | TEM9 | 6.204 | -42.4838 |  | 48.6878 |  | -0.14603 | 2.4168 | 14.7802 | 71.3626 | 186.1475
27 | 2021-07-11 | TEM9 | 3.7924 | -4.2779 |  | 8.0703 |  | -0.88652 | 2.0259 | 11.0857 | 133.4695 | 251.5809
28 | 2021-07-18 | TEM9 | 4.008 | 28.7785 | 4.008 | -24.7706 |  | 0.13927 | 1.9167 | 10.5307 | 155.3872 | 272.8772
29 | 2021-07-25 | TEM9 | 3.8785 | 50.8494 | 3.8785 | -46.971 |  | 0.076274 | 1.9003 | 11.0829 | 157.3224 | 275.4115
30 | 2021-08-01 | TEM9 | 7.2972 | -6.3657 |  | 13.6629 |  | -1.1463 | 1.864 | 10.2804 | 163.0963 | 279.5926
31 | 2021-08-08 | TEM9 | 13.7461 | 18.7756 | 13.7461 | -5.0295 |  | 0.73212 | 1.6546 | 7.635 | 271.8456 | 391.9063
32 | 2021-08-15 | TEM9 | 3.8432 | -0.31783 |  | 4.161 |  | -12.0922 | 1.6295 | 7.4808 | 274.1979 | 389.6476
33 | 2021-08-22 | TEM9 | 18.2443 | 16.2776 |  | 1.9668 |  | 1.1208 | 1.6345 | 7.3715 | 288.1713 | 415.8897
34 | 2021-08-29 | TEM9 | 8.0091 | 28.0606 | 8.0091 | -20.0515 |  | 0.28542 | 1.6431 | 7.345 | 279.9803 | 406.2013
35 | 2021-09-05 | TEM9 | 18.2847 | 39.3795 | 18.2847 | -21.0949 |  | 0.46432 | 1.6507 | 7.1143 | 300.6668 | 423.7433
36 | 2021-09-12 | TEM9 | 14.4997 | 67.1873 | 14.4997 | -52.6876 |  | 0.21581 | 1.5968 | 6.2827 | 364.2779 | 498.4814
37 | 2021-09-19 | TEM9 | 47.1331 | 80.9205 | 47.1331 | -33.7874 |  | 0.58246 | 1.5751 | 5.5768 | 426.5968 | 582.8494
38 | 2021-09-26 | TEM9 | 20.1037 | 62.5089 | 20.1037 | -42.4052 |  | 0.32161 | 1.5789 | 5.6209 | 439.2121 | 591.4371
39 | 2021-10-03 | TEM9 | 27.7273 | 45.5299 | 27.7273 | -17.8026 |  | 0.60899 | 1.5597 | 5.4871 | 439.2169 | 575.8891
40 | 2021-10-10 | TEM9 | 21.6865 | 67.2885 | 21.6865 | -45.602 |  | 0.32229 | 2.1246 | 5.5261 | 458.2887 | 607.6556
41 | 2021-10-17 | TEM9 | 64.354 | 59.9039 |  | 4.4502 |  | 1.0743 | 1.8034 | 4.3891 | 460.9663 | 627.381
42 | 2021-10-24 | TEM9 | 21.3887 | 82.2626 | 21.3887 | -60.8739 |  | 0.26001 | 1.6529 | 3.8347 | 465.6343 | 596
43 | 2021-10-31 | TEM9 | 39.5135 | 54.3176 | 39.5135 | -14.804 |  | 0.72745 | 1.6631 | 4.2482 | 490.4782 | 641.8677
44 | 2021-11-07 | TEM9 | 43.615 | 49.5455 | 43.615 | -5.9305 |  | 0.8803 | 1.375 | 2.9262 | 508.0255 | 665.9753
45 | 2021-11-14 | TEM9 | 47.9424 | 110.2437 | 47.9424 | -62.3013 |  | 0.43488 | 1.4905 | 1.7404 | 530.0367 | 690.7264
46 | 2021-11-21 | TEM9 | 57.5193 | 87.7626 | 57.5193 | -30.2433 |  | 0.6554 | 1.2433 | 1.1141 | 533.0195 | 708.3426
47 | 2021-11-28 | TEM9 | 41.1279 | 57.2076 | 41.1279 | -16.0797 |  | 0.71892 | 1.0491 | 0.97783 | 560.7179 | 713.4278
48 | 2021-12-05 | TEM9 | 19.8512 | 18.9917 |  | 0.85949 |  | 1.0453 | 1.4943 | 1.4689 | 556.4021 | 707.6261
49 | 2021-12-12 | TEM9 | 46.2057 | 75.3827 | 46.2057 | -29.177 |  | 0.61295 | 1.7515 | 1.7829 | 575.5549 | 729.2042
50 | 2021-12-19 | TEM9 | 40.033 | 63.9402 | 40.033 | -23.9072 |  | 0.6261 | 4.0443 | 4.1983 | 577.2214 | 753.1994
51 | 2021-12-26 | TEM9 | 63.8408 | 43.8398 |  | 20.001 |  | 1.4562 | 1.7061 | 1.7778 | 570.0791 | 740.4308
52 | 2022-01-02 | TEM9 | 8.0772 | 44.8667 | 8.0772 | -36.7895 | -36.7895 | 0.18003 | 1.7799 | 1.791 | 578.4017 | 695.513
53 | 2022-01-09 | TEM9 | 65.5306 | 51.0991 |  | 14.4315 | -22.358 | 1.2824 | 1.733 | 1.751 | 577.218 | 758.3642
54 | 2022-01-16 | TEM9 | 32.8201 | 59.5891 | 32.8201 | -26.7689 | -49.1269 | 0.55077 | 1.7574 | 1.763 | 594.7569 | 744.1406
55 | 2022-01-23 | TEM9 | 52.7682 | 28.9457 |  | 23.8226 | -25.3043 | 1.823 | 1.7504 | 1.7388 | 589.4988 | 756.6551
56 | 2022-01-30 | TEM9 | 42.19 | 43.0737 | 42.19 | -0.88368 | -26.188 | 0.97948 | 1.7671 | 1.7755 | 598.4738 | 762.5781
57 | 2022-02-06 | TEM9 | 123.9173 | 89.2918 |  | 34.6256 | 8.4375 | 1.3878 | 1.8285 | 1.8271 | 630.0935 | 872.9029
58 | 2022-02-13 | TEM9 | 67.1912 | 39.5085 |  | 27.6827 | 36.1202 | 1.7007 | 1.745 | 1.7439 | 633.0566 | 840.6789
59 | 2022-02-20 | TEM9 | 53.1666 | 68.3685 | 53.1666 | -15.2019 | 20.9183 | 0.77765 | 1.641 | 1.6447 | 660.8312 | 827.9717
60 | 2022-02-27 | TEM9 | 55.681 | 60.8267 | 55.681 | -5.1457 | 15.7726 | 0.9154 | 1.7184 | 1.7113 | 641.1536 | 821.6131
61 | 2022-03-06 | TEM9 | 58.2564 | 79.6712 | 58.2564 | -21.4148 | -5.6422 | 0.73121 | 1.7108 | 1.7069 | 652.3462 | 816.381
62 | 2022-03-13 | TEM9 | 9.9409 | 17.8692 | 9.9409 | -7.9283 | -13.5705 | 0.55631 | 1.7657 | 1.7717 | 639.9156 | 758.125
0 | 2021-01-03 | TEM14 | 0 | -3844.0992 |  | 3844.0992 |  | 0 | 4.2074 | 40.095 | 0 | 0
1 | 2021-01-10 | TEM14 | 0 | -3841.0814 |  | 3841.0814 |  | 0 | 3.9718 | 35.3381 | 0 | 0
2 | 2021-01-17 | TEM14 | 0 | -3843.2728 |  | 3843.2728 |  | 0 | 5.4694 | 57.4209 | 0 | 0
3 | 2021-01-24 | TEM14 | 0 | -3847.6884 |  | 3847.6884 |  | 0 | 7.7249 | 76.612 | 0 | 0
4 | 2021-01-31 | TEM14 | 0 | -3846.4717 |  | 3846.4717 |  | 0 | 7.1433 | 85.2386 | 0 | 0
5 | 2021-02-07 | TEM14 | 0 | -3848.3185 |  | 3848.3185 |  | 0 | 7.0764 | 86.4709 | 0 | 0
6 | 2021-02-14 | TEM14 | 0 | -3846.51 |  | 3846.51 |  | 0 | 6.3072 | 67.6544 | 0 | 0
7 | 2021-02-21 | TEM14 | 0 | -3752.8589 |  | 3752.8589 |  | 0 | 5.2144 | 45.1467 | 0 | 0
8 | 2021-02-28 | TEM14 | 0 | -3530.3663 |  | 3530.3663 |  | 0 | 3.9186 | 28.953 | 0 | 0
9 | 2021-03-07 | TEM14 | 0 | -3528.9029 |  | 3528.9029 |  | 0 | 3.6232 | 31.1762 | 0 | 0
10 | 2021-03-14 | TEM14 | 0 | -3439.7029 |  | 3439.7029 |  | 0 | 3.7406 | 30.8334 | 0 | 0
11 | 2021-03-21 | TEM14 | 0 | -2733.74 |  | 2733.74 |  | 0 | 3.343 | 21.2696 | 0 | 0
12 | 2021-03-28 | TEM14 | 0 | -2135.0938 |  | 2135.0938 |  | 0 | 2.8683 | 12.6118 | 0 | 0
13 | 2021-04-04 | TEM14 | 0 | -2038.335 |  | 2038.335 |  | 0 | 2.6945 | 11.8989 | 0 | 0
14 | 2021-04-11 | TEM14 | 0 | -2025.0449 |  | 2025.0449 |  | 0 | 2.6792 | 12.0906 | 0 | 0
15 | 2021-04-18 | TEM14 | 0 | -2018.8548 |  | 2018.8548 |  | 0 | 2.6209 | 13.8901 | 0 | 0
16 | 2021-04-25 | TEM14 | 0 | -2034.5034 |  | 2034.5034 |  | 0 | 2.509 | 15.0039 | 0 | 0
17 | 2021-05-02 | TEM14 | 0 | -2052.506 |  | 2052.506 |  | 0 | 2.5724 | 15.2775 | 0 | 0
18 | 2021-05-09 | TEM14 | 0 | -2054.4785 |  | 2054.4785 |  | 0 | 2.3999 | 15.1293 | 0 | 0
19 | 2021-05-16 | TEM14 | 7.4674e-05 | -2054.1238 |  | 2054.1239 |  | -3.6353e-08 | 2.4792 | 14.7443 | 7.93e-06 | 0
20 | 2021-05-23 | TEM14 | 6.2379e-05 | -2051.5861 |  | 2051.5862 |  | -3.0405e-08 | 2.4635 | 14.6028 | 1.2587e-05 | 0
21 | 2021-05-30 | TEM14 | 2.1893e-05 | -2049.361 |  | 2049.3611 |  | -1.0683e-08 | 2.4403 | 14.2785 | 1.5066e-05 | 0
22 | 2021-06-06 | TEM14 | 8.8244e-06 | -2054.8365 |  | 2054.8365 |  | -4.2944e-09 | 2.4197 | 14.411 | 7.0712e-06 | 0
23 | 2021-06-13 | TEM14 | 1.8684e-06 | -2052.0411 |  | 2052.0411 |  | -9.1051e-10 | 2.4802 | 15.2997 | 2.7438e-06 | 0
24 | 2021-06-20 | TEM14 | 1.8684e-06 | -2039.233 |  | 2039.2331 |  | -9.1623e-10 | 2.5033 | 15.295 | 2.7438e-06 | 0
25 | 2021-06-27 | TEM14 | 1.8684e-06 | -2041.6518 |  | 2041.6518 |  | -9.1515e-10 | 2.4488 | 15.2837 | 2.7438e-06 | 0
26 | 2021-07-04 | TEM14 | 1.8684e-06 | -2045.8272 |  | 2045.8273 |  | -9.1328e-10 | 2.4168 | 14.7802 | 2.7438e-06 | 0
27 | 2021-07-11 | TEM14 | 1.8684e-06 | -2084.6838 |  | 2084.6838 |  | -8.9626e-10 | 2.0259 | 11.0857 | 2.7438e-06 | 0
28 | 2021-07-18 | TEM14 | 1.8684e-06 | -2038.891 |  | 2038.891 |  | -9.1639e-10 | 1.9167 | 10.5307 | 2.7438e-06 | 0
29 | 2021-07-25 | TEM14 | 1.8684e-06 | -1863.8721 |  | 1863.8721 |  | -1.0024e-09 | 1.9003 | 11.0829 | 2.7438e-06 | 0
30 | 2021-08-01 | TEM14 | 1.8684e-06 | -2033.1073 |  | 2033.1073 |  | -9.1899e-10 | 1.864 | 10.2804 | 2.7438e-06 | 0
31 | 2021-08-08 | TEM14 | 1.8684e-06 | -2029.2054 |  | 2029.2054 |  | -9.2076e-10 | 1.6546 | 7.635 | 2.7438e-06 | 0
32 | 2021-08-15 | TEM14 | 1.8684e-06 | -2029.3456 |  | 2029.3456 |  | -9.207e-10 | 1.6295 | 7.4808 | 2.7438e-06 | 0
33 | 2021-08-22 | TEM14 | 1.8684e-06 | -2027.3488 |  | 2027.3488 |  | -9.216e-10 | 1.6345 | 7.3715 | 2.7438e-06 | 0
34 | 2021-08-29 | TEM14 | 1.8684e-06 | -2027.3208 |  | 2027.3208 |  | -9.2162e-10 | 1.6431 | 7.345 | 2.7438e-06 | 0
35 | 2021-09-05 | TEM14 | 1.8684e-06 | -2025.2259 |  | 2025.2259 |  | -9.2257e-10 | 1.6507 | 7.1143 | 2.7438e-06 | 0
36 | 2021-09-12 | TEM14 | 1.8684e-06 | -2027.1131 |  | 2027.1131 |  | -9.2171e-10 | 1.5968 | 6.2827 | 2.7438e-06 | 0
37 | 2021-09-19 | TEM14 | 1.8684e-06 | -2022.9696 |  | 2022.9696 |  | -9.236e-10 | 1.5751 | 5.5768 | 2.7438e-06 | 0
38 | 2021-09-26 | TEM14 | 1.8712e-06 | -2025.0449 |  | 2025.0449 |  | -9.2402e-10 | 1.5789 | 5.6209 | 2.7479e-06 | 0
39 | 2021-10-03 | TEM14 | 0.14102 | -2027.1905 |  | 2027.3316 |  | -6.9564e-05 | 1.5597 | 5.4871 | 2.7438e-06 | 0
40 | 2021-10-10 | TEM14 | 0.11863 | -2025.0608 |  | 2025.1795 |  | -5.8582e-05 | 2.1246 | 5.5261 | 0.00041083 | 92.9203
41 | 2021-10-17 | TEM14 | 0.11298 | -2015.7847 |  | 2015.8977 |  | -5.6049e-05 | 1.8034 | 4.3891 | 1.504e-06 | 91.1852
42 | 2021-10-24 | TEM14 | 19.0634 | -2010.4812 |  | 2029.5446 |  | -0.009482 | 1.6529 | 3.8347 | 1.7363e-08 | 107.0344
43 | 2021-10-31 | TEM14 | 29.2684 | -2234.8619 |  | 2264.1303 |  | -0.013096 | 1.6631 | 4.2482 | 0 | 121.5719
44 | 2021-11-07 | TEM14 | 81.7614 | -2232.8515 |  | 2314.6129 |  | -0.036617 | 1.375 | 2.9262 | 0 | 167.932
45 | 2021-11-14 | TEM14 | 107.7596 | -643.3529 |  | 751.1124 |  | -0.1675 | 1.4905 | 1.7404 | 0 | 206.5137
46 | 2021-11-21 | TEM14 | 156.6867 | -71.8638 |  | 228.5505 |  | -2.1803 | 1.2433 | 1.1141 | 0 | 272.283
47 | 2021-11-28 | TEM14 | 70.6311 | -32.9933 |  | 103.6244 |  | -2.1408 | 1.0491 | 0.97783 | 0 | 148.1998
48 | 2021-12-05 | TEM14 | 32.3579 | -32.4016 |  | 64.7595 |  | -0.99865 | 1.4943 | 1.4689 | 0 | 92.2297
49 | 2021-12-12 | TEM14 | 3.8284 | -19.7843 |  | 23.6126 |  | -0.19351 | 1.7515 | 1.7829 | 0 | 52.7377
50 | 2021-12-19 | TEM14 | 5.6784 | 1.9564 |  | 3.7221 |  | 2.9025 | 4.0443 | 4.1983 | 0 | 62.3553
51 | 2021-12-26 | TEM14 | 3.5019 | 0.80006 |  | 2.7018 |  | 4.377 | 1.7061 | 1.7778 | 0 | 45.6813
52 | 2022-01-02 | TEM14 | 10.1671 | 4.9176 |  | 5.2495 | 5.2495 | 2.0675 | 1.7799 | 1.791 | 0 | 49.3073
53 | 2022-01-09 | TEM14 | 8.1756 | 6.2676 |  | 1.908 | 7.1575 | 1.3044 | 1.733 | 1.751 | 0 | 46.9676
54 | 2022-01-16 | TEM14 | 7.6096 | 7.9238 | 7.6096 | -0.31425 | 6.8433 | 0.96034 | 1.7574 | 1.763 | 0 | 45.4304
55 | 2022-01-23 | TEM14 | 6.5801 | 7.5973 | 6.5801 | -1.0173 | 5.826 | 0.8661 | 1.7504 | 1.7388 | 0 | 63.1971
56 | 2022-01-30 | TEM14 | 16.4006 | 18.8055 | 16.4006 | -2.405 | 3.4211 | 0.87211 | 1.7671 | 1.7755 | 2.7437 | 77.1608
57 | 2022-02-06 | TEM14 | 25.4567 | 26.1762 | 25.4567 | -0.71942 | 2.7017 | 0.97252 | 1.8285 | 1.8271 | 4.5422 | 136.4978
58 | 2022-02-13 | TEM14 | 48.2473 | 50.1134 | 48.2473 | -1.8661 | 0.83556 | 0.96276 | 1.745 | 1.7439 | 201.5896 | 383.0344
59 | 2022-02-20 | TEM14 | 155.6796 | 155.2232 |  | 0.45644 | 1.292 | 1.0029 | 1.641 | 1.6447 | 686.2239 | 1019.3204
60 | 2022-02-27 | TEM14 | 72.228 | 72.7195 | 72.228 | -0.49157 | 0.80043 | 0.99324 | 1.7184 | 1.7113 | 289.769 | 508.8653
61 | 2022-03-06 | TEM14 | 70.4429 | 69.3378 |  | 1.1051 | 1.9055 | 1.0159 | 1.7108 | 1.7069 | 240.2873 | 458.2071
62 | 2022-03-13 | TEM14 | 40.0023 | 39.4073 |  | 0.59498 | 2.5005 | 1.0151 | 1.7657 | 1.7717 | 5.6922 | 192.0859
0 | 2021-01-03 | TEM12 | 0 | 61.5985 | 0 | -61.5985 |  | 0 | 4.2074 | 40.095 | 0 | 0
1 | 2021-01-10 | TEM12 | 0 | 60.6761 | 0 | -60.6761 |  | 0 | 3.9718 | 35.3381 | 0 | 0
2 | 2021-01-17 | TEM12 | 0 | 68.9965 | 0 | -68.9965 |  | 0 | 5.4694 | 57.4209 | 0 | 0
3 | 2021-01-24 | TEM12 | 0 | 80.0681 | 0 | -80.0681 |  | 0 | 7.7249 | 76.612 | 0 | 0
4 | 2021-01-31 | TEM12 | 0 | 78.0546 | 0 | -78.0546 |  | 0 | 7.1433 | 85.2386 | 0 | 0
5 | 2021-02-07 | TEM12 | 0 | 80.8926 | 0 | -80.8926 |  | 0 | 7.0764 | 86.4709 | 0 | 0
6 | 2021-02-14 | TEM12 | 0 | 77.8637 | 0 | -77.8637 |  | 0 | 6.3072 | 67.6544 | 0 | 0
7 | 2021-02-21 | TEM12 | 0 | 59.9493 | 0 | -59.9493 |  | 0 | 5.2144 | 45.1467 | 0 | 0
8 | 2021-02-28 | TEM12 | 0 | 63.5875 | 0 | -63.5875 |  | 0 | 3.9186 | 28.953 | 0 | 0
9 | 2021-03-07 | TEM12 | 0 | 65.5716 | 0 | -65.5716 |  | 0 | 3.6232 | 31.1762 | 0 | 0
10 | 2021-03-14 | TEM12 | 0.0015655 | 66.1216 | 0.0015655 | -66.1201 |  | 2.3676e-05 | 3.7406 | 30.8334 | 0 | 0
11 | 2021-03-21 | TEM12 | 0 | 53.6129 | 0 | -53.6129 |  | 0 | 3.343 | 21.2696 | 0 | 0
12 | 2021-03-28 | TEM12 | 8.004e-05 | 65.5655 | 8.004e-05 | -65.5655 |  | 1.2208e-06 | 2.8683 | 12.6118 | 0 | 0
13 | 2021-04-04 | TEM12 | 0.00014044 | 60.14 | 0.00014044 | -60.1398 |  | 2.3352e-06 | 2.6945 | 11.8989 | 0 | 0
14 | 2021-04-11 | TEM12 | 0.00027284 | 60.1355 | 0.00027284 | -60.1352 |  | 4.537e-06 | 2.6792 | 12.0906 | 0 | 0
15 | 2021-04-18 | TEM12 | 0.00035931 | 60.8951 | 0.00035931 | -60.8948 |  | 5.9005e-06 | 2.6209 | 13.8901 | 0 | 0
16 | 2021-04-25 | TEM12 | 1.4813e-05 | 56.6273 | 1.4813e-05 | -56.6273 |  | 2.6159e-07 | 2.509 | 15.0039 | 0 | 0
17 | 2021-05-02 | TEM12 | 1.4791e-05 | 52.1189 | 1.4791e-05 | -52.1189 |  | 2.8379e-07 | 2.5724 | 15.2775 | 0 | 0
18 | 2021-05-09 | TEM12 | 1.4835e-05 | 60.9328 | 1.4835e-05 | -60.9328 |  | 2.4346e-07 | 2.3999 | 15.1293 | 0 | 0
19 | 2021-05-16 | TEM12 | 1.4835e-05 | 63.8797 | 1.4835e-05 | -63.8797 |  | 2.3223e-07 | 2.4792 | 14.7443 | 0 | 0
20 | 2021-05-23 | TEM12 | 1.4813e-05 | 65.6383 | 1.4813e-05 | -65.6383 |  | 2.2567e-07 | 2.4635 | 14.6028 | 0 | 0
21 | 2021-05-30 | TEM12 | 1.4835e-05 | 64.2751 | 1.4835e-05 | -64.2751 |  | 2.308e-07 | 2.4403 | 14.2785 | 0 | 0
22 | 2021-06-06 | TEM12 | 1.4835e-05 | 63.7321 | 1.4835e-05 | -63.7321 |  | 2.3277e-07 | 2.4197 | 14.411 | 0 | 0
23 | 2021-06-13 | TEM12 | 1.4791e-05 | 65.0475 | 1.4791e-05 | -65.0475 |  | 2.2739e-07 | 2.4802 | 15.2997 | 0 | 0
24 | 2021-06-20 | TEM12 | 1.4791e-05 | 70.6838 | 1.4791e-05 | -70.6838 |  | 2.0925e-07 | 2.5033 | 15.295 | 0 | 0
25 | 2021-06-27 | TEM12 | 1.4791e-05 | 62.9406 | 1.4791e-05 | -62.9406 |  | 2.35e-07 | 2.4488 | 15.2837 | 0 | 0
26 | 2021-07-04 | TEM12 | 1.4791e-05 | 56.9041 | 1.4791e-05 | -56.9041 |  | 2.5993e-07 | 2.4168 | 14.7802 | 0 | 0
27 | 2021-07-11 | TEM12 | 1.4791e-05 | 69.0684 | 1.4791e-05 | -69.0684 |  | 2.1415e-07 | 2.0259 | 11.0857 | 0 | 0
28 | 2021-07-18 | TEM12 | 1.4791e-05 | 77.4318 | 1.4791e-05 | -77.4318 |  | 1.9102e-07 | 1.9167 | 10.5307 | 0 | 0
29 | 2021-07-25 | TEM12 | 1.4791e-05 | 86.1382 | 1.4791e-05 | -86.1381 |  | 1.7171e-07 | 1.9003 | 11.0829 | 0 | 0
30 | 2021-08-01 | TEM12 | 1.4791e-05 | 67.8684 | 1.4791e-05 | -67.8684 |  | 2.1793e-07 | 1.864 | 10.2804 | 0 | 0
31 | 2021-08-08 | TEM12 | 1.4791e-05 | 57.984 | 1.4791e-05 | -57.9839 |  | 2.5509e-07 | 1.6546 | 7.635 | 0 | 0
32 | 2021-08-15 | TEM12 | 1.4791e-05 | 51.1864 | 1.4791e-05 | -51.1863 |  | 2.8896e-07 | 1.6295 | 7.4808 | 0 | 0
33 | 2021-08-22 | TEM12 | 1.4791e-05 | 55.8233 | 1.4791e-05 | -55.8233 |  | 2.6496e-07 | 1.6345 | 7.3715 | 0 | 0
34 | 2021-08-29 | TEM12 | 0.00026187 | 68.7096 | 0.00026187 | -68.7093 |  | 3.8112e-06 | 1.6431 | 7.345 | 0 | 0
35 | 2021-09-05 | TEM12 | 0.056381 | 71.0114 | 0.056381 | -70.955 |  | 0.00079397 | 1.6507 | 7.1143 | 0 | 0
36 | 2021-09-12 | TEM12 | 3.3742 | 76.3848 | 3.3742 | -73.0107 |  | 0.044173 | 1.5968 | 6.2827 | 0 | 0
37 | 2021-09-19 | TEM12 | 5.2179 | 74.4828 | 5.2179 | -69.265 |  | 0.070055 | 1.5751 | 5.5768 | 0 | 0
38 | 2021-09-26 | TEM12 | 2.8078 | 56.5901 | 2.8078 | -53.7824 |  | 0.049616 | 1.5789 | 5.6209 | 0 | 0
39 | 2021-10-03 | TEM12 | 16.57 | 62.5119 | 16.57 | -45.9419 |  | 0.26507 | 1.5597 | 5.4871 | 0 | 0
40 | 2021-10-10 | TEM12 | 54.4465 | 58.4204 | 54.4465 | -3.9739 |  | 0.93198 | 2.1246 | 5.5261 | 87.892 | 420.9473
41 | 2021-10-17 | TEM12 | 130.7377 | 73.9855 |  | 56.7522 |  | 1.7671 | 1.8034 | 4.3891 | 201.4925 | 404.9442
42 | 2021-10-24 | TEM12 | 103.683 | 63.364 |  | 40.319 |  | 1.6363 | 1.6529 | 3.8347 | 335.5661 | 528.4414
43 | 2021-10-31 | TEM12 | 53.7092 | 43.1887 |  | 10.5204 |  | 1.2436 | 1.6631 | 4.2482 | 238.2129 | 377.0363
44 | 2021-11-07 | TEM12 | 105.8828 | 35.5882 |  | 70.2946 |  | 2.9752 | 1.375 | 2.9262 | 621.8017 | 559.0099
45 | 2021-11-14 | TEM12 | 110.5698 | 41.3784 |  | 69.1914 |  | 2.6722 | 1.4905 | 1.7404 | 711.4529 | 826.5585
46 | 2021-11-21 | TEM12 | 209.2277 | 44.3683 |  | 164.8593 |  | 4.7157 | 1.2433 | 1.1141 | 1464.6049 | 1369.5421
47 | 2021-11-28 | TEM12 | 239.041 | 31.747 |  | 207.2939 |  | 7.5296 | 1.0491 | 0.97783 | 1908.4648 | 1585.4213
48 | 2021-12-05 | TEM12 | 65.0571 | 26.1602 |  | 38.8969 |  | 2.4869 | 1.4943 | 1.4689 | 326.0623 | 399.1611
49 | 2021-12-12 | TEM12 | 39.4909 | 35.4948 |  | 3.9961 |  | 1.1126 | 1.7515 | 1.7829 | 0 | 147.7156
50 | 2021-12-19 | TEM12 | 23.045 | 24.8718 | 23.045 | -1.8269 |  | 0.92655 | 4.0443 | 4.1983 | 0 | 1868.1145
51 | 2021-12-26 | TEM12 | 18.3138 | 33.0733 | 18.3138 | -14.7595 |  | 0.55373 | 1.7061 | 1.7778 | 0 | 157.7033
52 | 2022-01-02 | TEM12 | 26.0805 | 27.8542 | 26.0805 | -1.7737 | -1.7737 | 0.93632 | 1.7799 | 1.791 | 0 | 163.4724
53 | 2022-01-09 | TEM12 | 28.1424 | 30.5943 | 28.1424 | -2.4519 | -4.2256 | 0.91986 | 1.733 | 1.751 | 0 | 162.9499
54 | 2022-01-16 | TEM12 | 25.644 | 25.4643 |  | 0.17969 | -4.0459 | 1.0071 | 1.7574 | 1.763 | 3.3579 | 165.537
55 | 2022-01-23 | TEM12 | 30.651 | 28.3273 |  | 2.3236 | -1.7222 | 1.082 | 1.7504 | 1.7388 | 5.6659 | 169.8663
56 | 2022-01-30 | TEM12 | 30.2708 | 33.4897 | 30.2708 | -3.2189 | -4.9411 | 0.90388 | 1.7671 | 1.7755 | 5.7359 | 165.6244
57 | 2022-02-06 | TEM12 | 35.7306 | 35.0944 |  | 0.63617 | -4.3049 | 1.0181 | 1.8285 | 1.8271 | 5.986 | 179.5965
58 | 2022-02-13 | TEM12 | 57.975 | 58.0495 | 57.975 | -0.074492 | -4.3794 | 0.99872 | 1.745 | 1.7439 | 6.0855 | 203.9289
59 | 2022-02-20 | TEM12 | 74.9084 | 76.0813 | 74.9084 | -1.173 | -5.5524 | 0.98458 | 1.641 | 1.6447 | 6.0987 | 257.9825
60 | 2022-02-27 | TEM12 | 67.2802 | 65.6234 |  | 1.6568 | -3.8956 | 1.0252 | 1.7184 | 1.7113 | 6.0994 | 220.2706
61 | 2022-03-06 | TEM12 | 48.3654 | 47.4067 |  | 0.95878 | -2.9369 | 1.0202 | 1.7108 | 1.7069 | 8.3822 | 205.9855
62 | 2022-03-13 | TEM12 | 17.0517 | 16.8037 |  | 0.24804 | -2.6888 | 1.0148 | 1.7657 | 1.7717 | 9.975 | 172.9812
0 | 2021-01-03 | Total | 106.5759 | 3837.2039 | 106.5759 | -3730.6279 |  | 0.027774 | 4.2074 | 40.095 | 103.9532 | 437.3728
1 | 2021-01-10 | Total | 127.7291 | 3861.6532 | 127.7291 | -3733.9241 |  | 0.033076 | 3.9718 | 35.3381 | 119.0423 | 472.807
2 | 2021-01-17 | Total | 102.316 | 3855.0889 | 102.316 | -3752.7729 |  | 0.026541 | 5.4694 | 57.4209 | 72.2361 | 395.088
3 | 2021-01-24 | Total | 137.3846 | 3830.5972 | 137.3846 | -3693.2126 |  | 0.035865 | 7.7249 | 76.612 | 53.6126 | 414.1536
4 | 2021-01-31 | Total | 67.6726 | 3838.9331 | 67.6726 | -3771.2604 |  | 0.017628 | 7.1433 | 85.2386 | 48.2905 | 344.9544
5 | 2021-02-07 | Total | 58.9412 | 3839.508 | 58.9412 | -3780.5668 |  | 0.015351 | 7.0764 | 86.4709 | 47.6175 | 336.9615
6 | 2021-02-14 | Total | 100.8129 | 3844.3321 | 100.8129 | -3743.5192 |  | 0.026224 | 6.3072 | 67.6544 | 61.0218 | 384.8795
7 | 2021-02-21 | Total | 77.3846 | 3285.2287 | 77.3846 | -3207.8441 |  | 0.023555 | 5.2144 | 45.1467 | 80.332 | 418.8809
8 | 2021-02-28 | Total | 72.4872 | 2722.1454 | 72.4872 | -2649.6582 |  | 0.026629 | 3.9186 | 28.953 | 105.8408 | 414.7475
9 | 2021-03-07 | Total | 90.5898 | 3386.6668 | 90.5898 | -3296.077 |  | 0.026749 | 3.6232 | 31.1762 | 119.6268 | 433.43
10 | 2021-03-14 | Total | 127.1427 | 3526.1573 | 127.1427 | -3399.0146 |  | 0.036057 | 3.7406 | 30.8334 | 125.4583 | 469.295
11 | 2021-03-21 | Total | 71.4736 | 2513.9806 | 71.4736 | -2442.507 |  | 0.02843 | 3.343 | 21.2696 | 136.2509 | 455.4913
12 | 2021-03-28 | Total | 62.3643 | 1539.3638 | 62.3643 | -1476.9994 |  | 0.040513 | 2.8683 | 12.6118 | 151.5888 | 434.8084
13 | 2021-04-04 | Total | 74.5272 | 1555.6948 | 74.5272 | -1481.1676 |  | 0.047906 | 2.6945 | 11.8989 | 160.92 | 433.6068
14 | 2021-04-11 | Total | 77.7636 | 1599.5016 | 77.7636 | -1521.738 |  | 0.048617 | 2.6792 | 12.0906 | 161.6909 | 433.1946
15 | 2021-04-18 | Total | 78.1627 | 1986.7478 | 78.1627 | -1908.5851 |  | 0.039342 | 2.6209 | 13.8901 | 169.3637 | 443.893
16 | 2021-04-25 | Total | 35.9976 | 2130.3606 | 35.9976 | -2094.363 |  | 0.016897 | 2.509 | 15.0039 | 167.6167 | 420.545
17 | 2021-05-02 | Total | 33.3209 | 2174.9594 | 33.3209 | -2141.6385 |  | 0.01532 | 2.5724 | 15.2775 | 168.5643 | 433.6097
18 | 2021-05-09 | Total | 29.6305 | 2160.1317 | 29.6305 | -2130.5012 |  | 0.013717 | 2.3999 | 15.1293 | 167.3675 | 401.6598
19 | 2021-05-16 | Total | 42.0464 | 2074.4703 | 42.0464 | -2032.4239 |  | 0.020269 | 2.4792 | 14.7443 | 165.7079 | 410.8187
20 | 2021-05-23 | Total | 33.2096 | 2070.5122 | 33.2096 | -2037.3027 |  | 0.016039 | 2.4635 | 14.6028 | 167.8276 | 413.4507
21 | 2021-05-30 | Total | 32.1404 | 2040.9078 | 32.1404 | -2008.7673 |  | 0.015748 | 2.4403 | 14.2785 | 169.6855 | 414.0889
22 | 2021-06-06 | Total | 15.0913 | 1983.5402 | 15.0913 | -1968.4489 |  | 0.0076083 | 2.4197 | 14.411 | 164.1562 | 397.2048
23 | 2021-06-13 | Total | 14.8617 | 2035.2133 | 14.8617 | -2020.3516 |  | 0.0073023 | 2.4802 | 15.2997 | 157.6005 | 390.8869
24 | 2021-06-20 | Total | 24.1361 | 2054.272 | 24.1361 | -2030.136 |  | 0.011749 | 2.5033 | 15.295 | 158.707 | 397.2915
25 | 2021-06-27 | Total | 20.9323 | 2060.8706 | 20.9323 | -2039.9383 |  | 0.010157 | 2.4488 | 15.2837 | 158.9364 | 389.2009
26 | 2021-07-04 | Total | 27.9723 | 2098.7025 | 27.9723 | -2070.7302 |  | 0.013328 | 2.4168 | 14.7802 | 167.4896 | 404.7958
27 | 2021-07-11 | Total | 22.1571 | 2180.556 | 22.1571 | -2158.3989 |  | 0.010161 | 2.0259 | 11.0857 | 238.2388 | 482.6428
28 | 2021-07-18 | Total | 11.4347 | 2209.4114 | 11.4347 | -2197.9767 |  | 0.0051754 | 1.9167 | 10.5307 | 255.1623 | 489.0664
29 | 2021-07-25 | Total | 10.3102 | 2390.9797 | 10.3102 | -2380.6695 |  | 0.0043121 | 1.9003 | 11.0829 | 259.2602 | 492.6791
30 | 2021-08-01 | Total | 13.6357 | 2234.39 | 13.6357 | -2220.7543 |  | 0.0061026 | 1.864 | 10.2804 | 263.8609 | 491.8398
31 | 2021-08-08 | Total | 39.9479 | 2270.8364 | 39.9479 | -2230.8885 |  | 0.017592 | 1.6546 | 7.635 | 373.0379 | 617.2422
32 | 2021-08-15 | Total | 25.0822 | 2257.0898 | 25.0822 | -2232.0076 |  | 0.011113 | 1.6295 | 7.4808 | 381.455 | 621.5972
33 | 2021-08-22 | Total | 39.9589 | 2282.5528 | 39.9589 | -2242.5939 |  | 0.017506 | 1.6345 | 7.3715 | 390.9022 | 638.9222
34 | 2021-08-29 | Total | 35.9047 | 2249.7392 | 35.9047 | -2213.8344 |  | 0.01596 | 1.6431 | 7.345 | 388.2594 | 637.9394
35 | 2021-09-05 | Total | 62.4572 | 2265.7619 | 62.4572 | -2203.3047 |  | 0.027566 | 1.6507 | 7.1143 | 403.2681 | 665.6696
36 | 2021-09-12 | Total | 66.3052 | 2279.0882 | 66.3052 | -2212.783 |  | 0.029093 | 1.5968 | 6.2827 | 472.2185 | 754.0269
37 | 2021-09-19 | Total | 107.0547 | 2263.1697 | 107.0547 | -2156.115 |  | 0.047303 | 1.5751 | 5.5768 | 538.8027 | 848.6739
38 | 2021-09-26 | Total | 84.4355 | 2283.2094 | 84.4355 | -2198.7739 |  | 0.036981 | 1.5789 | 5.6209 | 543.9739 | 858.8618
39 | 2021-10-03 | Total | 121.0214 | 2303.0337 | 121.0214 | -2182.0123 |  | 0.052549 | 1.5597 | 5.4871 | 555.5795 | 866.516
40 | 2021-10-10 | Total | 125.8147 | 2328.8381 | 125.8147 | -2203.0235 |  | 0.054025 | 2.1246 | 5.5261 | 647.666 | 1376.0188
41 | 2021-10-17 | Total | 270.4031 | 2289.7759 | 270.4031 | -2019.3728 |  | 0.11809 | 1.8034 | 4.3891 | 780.9851 | 1408.4525
42 | 2021-10-24 | Total | 207.7987 | 2181.3606 | 207.7987 | -1973.5619 |  | 0.095261 | 1.6529 | 3.8347 | 904.5309 | 1495.0874
43 | 2021-10-31 | Total | 157.2243 | 2307.8541 | 157.2243 | -2150.6297 |  | 0.068126 | 1.6631 | 4.2482 | 831.9227 | 1383.5345
44 | 2021-11-07 | Total | 344.0864 | 2278.8539 | 344.0864 | -1934.7675 |  | 0.15099 | 1.375 | 2.9262 | 1247.2723 | 1714.9731
45 | 2021-11-14 | Total | 363.1905 | 708.304 | 363.1905 | -345.1135 |  | 0.51276 | 1.4905 | 1.7404 | 1380.9892 | 2058.3971
46 | 2021-11-21 | Total | 506.4205 | 225.7857 |  | 280.6348 |  | 2.2429 | 1.2433 | 1.1141 | 2172.6128 | 2701.1484
47 | 2021-11-28 | Total | 396.0933 | 209.3302 |  | 186.7631 |  | 1.8922 | 1.0491 | 0.97783 | 2621.682 | 2750.3296
48 | 2021-12-05 | Total | 221.7779 | 195.0521 |  | 26.7258 |  | 1.137 | 1.4943 | 1.4689 | 1052.1625 | 1572.2773
49 | 2021-12-12 | Total | 191.4765 | 214.5936 | 191.4765 | -23.117 |  | 0.89228 | 1.7515 | 1.7829 | 738.0359 | 1292.6953
50 | 2021-12-19 | Total | 99.6522 | 212.7972 | 99.6522 | -113.145 |  | 0.4683 | 4.0443 | 4.1983 | 734.9873 | 2972.5189
51 | 2021-12-26 | Total | 133.9571 | 186.6454 | 133.9571 | -52.6883 |  | 0.71771 | 1.7061 | 1.7778 | 735.5358 | 1254.9162
52 | 2022-01-02 | Total | 192.2794 | 200.4707 | 192.2794 | -8.1914 | -8.1914 | 0.95914 | 1.7799 | 1.791 | 740.5971 | 1318.2205
53 | 2022-01-09 | Total | 168.5527 | 182.1734 | 168.5527 | -13.6207 | -21.8121 | 0.92523 | 1.733 | 1.751 | 753.2893 | 1305.42
54 | 2022-01-16 | Total | 187.9164 | 192.1573 | 187.9164 | -4.2409 | -26.053 | 0.97793 | 1.7574 | 1.763 | 760.4616 | 1336.4514
55 | 2022-01-23 | Total | 170.1763 | 161.2893 |  | 8.887 | -17.166 | 1.0551 | 1.7504 | 1.7388 | 762.8308 | 1335.2957
56 | 2022-01-30 | Total | 203.2443 | 209.9445 | 203.2443 | -6.7002 | -23.8662 | 0.96809 | 1.7671 | 1.7755 | 789.6662 | 1395.3879
57 | 2022-02-06 | Total | 220.4082 | 219.2767 |  | 1.1315 | -22.7347 | 1.0052 | 1.8285 | 1.8271 | 820.7241 | 1500.7015
58 | 2022-02-13 | Total | 268.4618 | 267.3323 |  | 1.1295 | -21.6052 | 1.0042 | 1.745 | 1.7439 | 1039.4355 | 1813.8476
59 | 2022-02-20 | Total | 423.8736 | 429.6246 | 423.8736 | -5.751 | -27.3562 | 0.98661 | 1.641 | 1.6447 | 1539.9548 | 2526.9963
60 | 2022-02-27 | Total | 316.5663 | 308.4592 |  | 8.1071 | -19.2491 | 1.0263 | 1.7184 | 1.7113 | 1146.6686 | 1970.4577
61 | 2022-03-06 | Total | 284.0413 | 279.7207 |  | 4.3206 | -14.9285 | 1.0154 | 1.7108 | 1.7069 | 1101.8757 | 1885.1312
62 | 2022-03-13 | Total | 153.1593 | 158.2321 | 153.1593 | -5.0728 | -20.0013 | 0.96794 | 1.7657 | 1.7717 | 856.4094 | 1512.1984